Dear Editor and Reviewers,

The authors thank you for comments to improve the quality of our manuscript. We revised our manuscript based on the reviewers’ comments. All spelling and grammar errors were corrected and they were highlighted by yellow color in the revised manuscript. The reviewers' comments are replied point-by-point as follows.

Best regards,

REVIEWER 1

Comment 1. Review the abstract section, which should clarify the purpose, research methods, application and results achieved. You can omit the sentence, "Fault location is one of the most efficient methods to improve reliability and to reduce downtime of a power system. For this, two main methods including the impedance and traveling wave approaches have been developed for locating faults on power transmission lines. The traveling wave-based fault location methods use the characteristics of traveling wave propagation to determine the arrival times of the reflected and forward waves at the ends of the transmission line. The distance from the line end to the fault can be calculated."

Reply: The authors deleted some sentences above. The first one is still kept in Abstract because it plays as a topic sentence. Additionally, the next sentences clarify the purpose, research methods and simulation results which are carried out in this paper.

Comment 2. Need the character ground added in the Fig. 1 (a)

Reply: Fig. 1 was modified by adding the character “Ground”.

Comment 3. In subsection 2.3, what is Eq. (24) used for?

Reply: Eq. (24) is the Clarke transform and it is used to convert the initial signal in the abc frame into the β0 frame. The alpha aerial mode of this transform is then used as an input of DWT to extract the fault’s arrival time (tA) and the first reflection’s arrival time (tA2).

Comment 4. Add steps to the algorithm in Fig. 7.

Reply: In this paper, I explained the algorithm in Fig. 7 as a paragraph. To emphasize this point, the authors added a new sentence “The steps for this algorithm are summarized as follows:” in the paragraph below Fig. 6 to explain the algorithm. The next paragraph explains the steps for the algorithm in detail.

Comment 5. Improve the quality of Figs. 8 and 11

Reply: These figures were modified to improve their quality.

Comment 6. In Fig. 10, what is the purpose of converting signals from the ABC reference system to the alphabet?

Reply: The response for this comment is similar to the response for the third comment. Actually, Fig. 10 is an example voltage and current waveforms at the beginning end when the AG fault occurs on the line. The key purpose of this figure is to show the characteristics of β0 currents.

Comment 7. If possible, refer to a few more publications as introduced below and build a real network to apply the proposed method.

[1] Bon, Nguyen Nhan and Le Van Dai "Fault Identification, Classification, and Location on Transmission Lines Using Combined Machine Learning Methods." International Journal of Engineering & Technology Innovation 12, no. 2 (2022).

[2] Le Van Dại Bon, Nguyen Nhan, Le Cao Quyen "Deep Learning Method for Fault Diagnosis in High Voltage Transmission Lines: A Case of the Vietnam 220kV Transmission Line." International Journal on Electrical Engineering and Informatics 14, no. 2 (2022): 254-275.

Reply: The authors added these two published papers into References and analyzed them in Introduction section.

The hybrid method based on wavelet transform, GoogLeNet, convolutional neural network, and probabilistic neural network was proposed to identify, classify, and locate faults on transmission lines.15, 16

Comment 8. Improve the quality of English, for example, The fault location system need to detect and identify accurately  …. needs….. ; In power system operation processing, short circuits are very extremely serious, they occur randomly that people can not diagnose their occurrence. --> In power system operation processing, short circuits are extremely serious; they occur randomly, and people can not diagnose their occurrence.

Reply: All the spelling and grammar errors were corrected in the revised manuscript.

REVIEWER 2

Comment 1. Cần chỉnh sửa các lỗi chính tả: truyền song, làn truyền, 2 khoảng trống (space liên tiếp), DWT được chú giải nhiều lần,

Reply: Tác giả đã rà soát và chỉnh sửa lại toàn bộ các lỗi chính tả, lỗi 2 khoảng trống, lỗi chú giải nhiều lần,…

Comment 2. Nâng cao độ phân giải Hình 8

Reply: Đã hiệu chỉnh lại Hình 8.

Comment 3. Xem lại vai trò của TA2 và TA trong công thức tính X (trang 8)

Reply: Hai biến tA và tA2 trong công thức (8) đã được chú thích lại rõ ràng hơn ở đoạn văn trước công thức 8. Hai biến này được miêu tả rõ trong Hình 4.a

Comment 4. Nên xem lại việc trình bày tính Error(%) ở trang 8 hợp lý hơn (nên viết chung vào 1 công thức).

Reply: Đã chỉnh sửa lại thành 1 công thức có 2 dòng.

Comment 5. Xem lại Hình 12b vì có sự khác biệt về giá trị dòng điện tại TA và TA2 so với các hình còn lại.

Reply: Các hình con trong Hình 12 là hệ số mức 1 DWT của thành phần  dòng điện ngắn mạch lần lượt là AG, AB, ABG và ABCG ở các vị trí ngắn mạch cũng khác nhau. Do đó, giá trị dòng điện này trên các hình 12 cũng có sự khác biệt. Tuy nhiên về thời điểm bắt đầu và kết thúc ngắn mạch thì cho kết quả gần giống nhau cho cả 4 trường hợp trên.