Các mô hình mạng nơ ron hồi quy dùng cho dự báo điện gió
Nguyễn Văn Ninh, Nguyễn Xuân Thậm, Thân Văn Thông, Đoàn Thanh Bảo, Lương Ngọc Toàn, Lê Tuấn Hộ*
Khoa Kỹ thuật và Công nghệ, Trường Đại học Quy Nhơn
*Tác giả liên hệ chính. Email: tuanhole@qnu.edu.vn

Ngày nhận bài: dd/mm/yyyy; Ngày sửa bài: dd/mm/yyyy;

Ngày nhận đăng: dd/mm/yyyy; Ngày xuất bản: dd/mm/yyyy

TÓM TẮT
Các giá trị lịch sử của công suất phát điện gió thường được sử dụng trong hầu hết các mô hình và phương pháp dự báo điện gió trong các tài liệu. Tuy nhiên, các thông số vận hành có thể ảnh hưởng đến kết quả dự báo chẳng hạn như tốc độ gió, góc pitch, nhiệt độ môi trường, vị trí nacelle, và hướng gió chưa được xem xét trong các phương pháp hiện tại. Do đó, mục tiêu cơ bản của bài báo này là đề xuất các mô hình mạng nơ ron hồi quy dùng cho dự báo công suất phát điện gió có xem xét các tham số vận hành này. Nghiên cứu này xem xét dữ liệu công suất phát điện gió và các tham số vận hành tương ứng từ máy phát tuabin gió số 5 của 1 trang trại gió. Dữ liệu từ ngày 01 tháng 07 năm 2024 đến 31 tháng 07 năm 2024 được thu thập từ hệ thống SCADA. Đầu tiên, mô hình mạng nơ ron tự hồi quy phi tuyến có các đầu vào được áp dụng để dự báo công suất phát điện gió. Thứ hai, mô hình mạng hồi quy lớp được sử dụng để dự báo công suất phát điện gió. Thứ ba, mô hình mạng nơ ron trễ phân tán được dùng để dự báo công suất phát điện gió. Thứ tư, mô hình mạng nơ ron trễ thời gian được huấn luyện để ước lượng điện gió. Cuối cùng, các mô hình mạng nơ ron hồi quy này được so sánh để xác định mô hình dự báo công suất phát điện gió tốt hơn khi xét theo các tiêu chí sai số tuyệt đối trung bình, sai số phần trăm tuyệt đối trung bình và sai số bình phương trung bình. 

Từ khóa: Dự báo điện gió, mạng nơ ron tự hồi quy phi tuyến có các đầu vào, mạng nơ ron hồi quy lớp, mạng nơ ron trễ phân tán, mạng nơ ron trễ thời gian.

Recurrent neural network models for wind power forecasting
Van-Ninh Nguyen, Xuan-Tham Nguyen, Van-Thong Than, Thanh-Bao Doan, Ngoc-Toan Luong, Tuan-Ho Le*
Faculty of Engineering and Technology, Quy Nhon University
* Corresponding author. Email: tuanhole@qnu.edu.vn 
Received: dd/mm/yyyy; Revised: dd/mm/yyyy;
Accepted: dd/mm/yyyy; Published: dd/mm/yyyy

ABSTRACT
The historical values of wind power generation are generally utilized in most forecasting models and methods in the literature. Unfortunately, the operational parameters such as wind speed, pitch angle, ambient temperature, nacelle position, and wind direction may affect the forecasting results. Therefore, the primary objective of this paper is to propose recurrent neural network models for wind power generation forecasting considering these operational parameters. In this study, the wind power generation data and the associated operational parameters from the wind turbine generator 05 of a wind farm are investigated. The data from July 1st, 2024 to July 31st, 2024 is collected from the SCADA system. Firstly, the nonlinear autoregressive neural network with external input is applied to make the wind power generation prediction. Secondly, the layer recurrent neural network model is employed to forecast wind power generation. Thirdly, the distributed delay neural network model is implemented to predict wind power generation. Fourthly, the time delay neural network model is trained to estimate the wind power. Finally, these recurrent neural network models are compared to determine the better wind power generation forecasting model in terms of mean absolute error, mean absolute percent error, and root mean square error. 
Keywords: Wind power forecasting, nonlinear autoregressive neural network with external input, layer recurrent neural network, distributed delay neural network, time delay neural network.
1. INTRODUCTION 
The rapid increase in energy demand forces people to seek alternative energy sources in addition to traditional ones that are depleting and causing pollution issues. Wind power is a clean and renewable source. From the Global Wind Report 2024 of GWEC (Global Wind Energy Council), it is shown that 2023 saw the highest number of new installations in history for onshore wind (over 100 GW) and the second highest for offshore wind (11 GW). Wind energy installations will increase from a level of 117 GW in 2023 to at least 320 GW of annual installations by 2030 1. Actually, wind power generation plays a significant role in electricity supply. Wind energy integration into power systems presents inherent unpredictability because of the intermittent nature of wind energy 2. As wind energy makes significant penetration into the electricity grid, the need for accurate predictions of wind power generation becomes critical and urgent 3,4. To solve these challenges, wind power forecasting can be a useful solution. Consequently, numerous WPF models and methods have been proposed and executed in the literature. According to the time horizon, wind power forecasting can be categorized as ultra short-term, short-term, medium-term, and long-term. Various types of forecasting models and methods are proposed for wind power generation time series. The traditional statistical models and methods are usually applied by using the previous historical data to perform a forecast. In WPF, the statistical models are applied as exponential smoothing approach 5,6, autoregressive 7, autoregressive moving average (ARMA) 8,9, autoregressive integrated moving average (ARIMA) 10,11. Besides, artificial intelligence-based models are another research direction in wind power forecasting. Depending on the neural network (NN) structures, various models are proposed in wind power generation forecasting. Feed-forward NN models are used to make the wind power prediction such as multi-layer perceptron 12 and back-propagation NN 13. Another kind of NN model with feedback namely the recurrent NN (RNN) model is also used in this research direction. The RNN model-based wind power forecasting methods are Elman NN 14, layer RNN 15, nonlinear autoregressive NN 16, long short-term memory (LSTM) 17, bidirectional LSTM 18, gated recurrent unit 19, and echo state network 20. Support vector machine 21, gradient boosting regression tree algorithms 22, and ensemble model 23 belonging to machine learning are also implemented in wind power forecasting. Other attempts to combine different models or methods using different ways to improve the forecasting results such as autoregressive fractionally integrated moving average and least square support vector machine 24, boosting algorithm and ARMA model 25, hybrid CEEMDAN-EWT deep learning method 25, and neuro wavelet and LSTM models 26. In these existing studies, most wind power forecasting models handle the wind power generation time series data issues without considering the operational parameters which might affect the forecasting results. Some significant operational parameters can be considered wind speed, pitch angle, ambient temperature, nacelle position, and wind direction. In this paper, one of the 6 turbines of a wind farm, located on the south-central coast, Vietnam with a 114-metre height and a 132-metre rotor is considered. These operational parameters and wind power generation time series data are collected at 10-minute intervals from the SCADA system. The data is collected from July 01st, 2024 to July 31st, 2024. This data is divided into three different case studies. Then, numerous RNN models including nonlinear autoregressive NN with external input (Narxnet), layer RNN (Layrecnet), distributed delay NN (Distdelaynet), and time delay neural network (Timedelaynet) investigating both operational parameters and wind power generation are proposed for wind power generation forecasting. To identify the efficiency of wind power forecasting models, evaluation criteria such as mean absolute error  (MAE), mean absolute percent error (MAPE), and root mean square error (RMSE) are used. Based on the final results, a better forecasting model can be determined. An overview of wind power generation forecasting using RNN models can be represented in Figure 1. 
	[image: image1.emf]Operating parameters

(wind speed, pitch angle, ambient temperature, 

nacelle position, wind direction)

Wind power generation

DISTDELAYNET TIMEDELAYNET LAYRECNET NARXNET

MAE WAPE RMSE

Better forecasting model




Figure 1. Overview of the wind power generation forecasting using RNN models.

2. METHODOLOGY
2.1. Nonlinear autoregressive neural network with external input
Narxnet is a nonlinear autoregressive model with exogenous inputs in time series modeling. In this model, the current value of a time series relates to both past values of the same series and current and past values of exogenous series. The Narxnet model, applied to time series forecasting, can be written as follows:



[image: image2.wmf]1212

(,,...,,,,...)

tttttt

yfyyxxx

----

=


(1)
where 
[image: image3.wmf]f

 denotes an unknown nonlinear function (i.e., transfer function or activation function); 
[image: image4.wmf]t

y

 denotes the predicted value of the time series data of 
[image: image5.wmf]y

 at a discrete time 
[image: image6.wmf]t

; and 
[image: image7.wmf]t

x

 denotes the externally determined variable. The Narxnet model can be shown in Figure 2.
	[image: image8.emf]Transfer 

function

x(t)

y(t)

�

Delays

Delays

��

Transfer 

function

y(t)

Hidden layer Output layer Input layer




Figure 2. Narxnet model.
2.2. Layer recurrent neural network
Layrecnet is another type of RNN models. However, the output of the hidden layer is connected to the input layer with delays. Therefore, the network may have an infinite dynamic response to time series input data. The Layrecnet model can be shown in Figure 3.
	[image: image9.emf]Transfer 

function

x(t)

y(t)

�

Delays

��

Transfer 

function

Hidden layer Output layer

Input layer




Figure 3. Layrecnet model.
2.3. Distributed delay neural network
Distdelaynet is another type of RNN models. The input layer and hidden layer have a tap delay line associated with them. Therefore, the network may have a finite dynamic response to time series input data. The Distdelaynet model can be shown in Figure 4.

	[image: image10.emf]Transfer 

function

x(t)

y(t)

�

Delays

Delays

��

Transfer 

function

Hidden layer Output layer Input layer




Figure 4. Distdelaynet model.
2.4. Time delay neural network
Timedelaynet is another type of RNN models. The input layer has a tap delay line associated with it. Therefore, the network may have a finite dynamic response to time series input data. The Timedelaynet model can be shown in Figure 5.

	[image: image11.emf]Transfer 

function

x(t)

y(t)

�

Delays

��

Transfer 

function

Hidden layer Output layer Input layer




Figure 5. Timedelaynet model.
2.4. Transfer function
Normally, three transfer functions are used as follows:
Linear (i.e., purelin):



[image: image12.wmf]fx

=

. 
(1)

Hyperbolic tangent sigmoid (i.e., tansig):



[image: image13.wmf]2

2

1

1

x

f

e

-

=-

+

.
(2)

Log-sigmoid (i.e., logsig):



[image: image14.wmf]1

1

x

f

e

-

=

+

.
(3)

2.5. Training algorithm
The weights of the network are randomly initialized, and then repeatedly adjusted through the minimization of the cost function, which is calculated by measuring the difference between the actual output and the desired value 27. Several training algorithms are used in NN training such as resilient back-propagation (i.e., trainrp), Bayesian regularization back-propagation (i.e., trainbr), BFGS quasi-Newton back-propagation (i.e., trainbfg), Levenberg-Marquardt back-propagation (i.e., trainlm), …
2.6. Evaluation criteria
MAE:



[image: image15.wmf]1

1

n

tt

t

MAEAF

n

=

=-

å


(4)

where 
[image: image16.wmf]t

A

 is the actual value, 
[image: image17.wmf]t

F

 is the forecasted value, and 
[image: image18.wmf]n

 is the number of observations.

WAPE:



[image: image19.wmf]1

1

n

tt

t

n

t

t

AF

WAPE

A

=

=

-

=

å

å

.
(5)

RMSE:



[image: image20.wmf](

)

2

1

1

n

tt

t

RMSEAF

n

=

=-

å

.
(6)

3. CASE STUDIES
The time-series data from the wind turbine 05 (3.5 MW with a height of 114 meters, 132-meter rotor diameter) in a wind farm is collected from July 01st, 2024 to July 31st, 2024 (i.e., case study 3) with 10-minute intervals. Two investigated sub-periods in this period are from July 01st, 2024 to July 07th, 2024 (i.e., case study 1) and from July 25th, 2024 to July 31st, 2024 (i.e., case study 2). The total number of observations in three case studies is given in Table 1. 
 Table 1. Number of observations.

	Data
	Case study 1
	Case study 2
	Case study 3

	Number of observations
	1008
	1008
	4464


The wind speed, pitch angle, ambient temperature, nacelle position, and wind direction from July 01st, 2024 to July 31st, 2024 are illustrated in Figures 6, 7, 8, 9, and 10, respectively. 

	[image: image21.emf]0 500 1000 1500 2000 2500 3000 3500 4000 4500

Number of observations

0

2

4

6

8

10

12

14

16

18

W

i

n

d

 

s

p

e

e

d

 

(

m

/

s

)




Figure 6. Wind speed.

	[image: image22.emf]0 500 1000 1500 2000 2500 3000 3500 4000 4500

Number of observations

0

10

20

30

40

50

60

70

80

90

P

i

t

c

h

 

a

n

g

l

e

 

(

d

e

g

r

e

e

)




Figure 7. Pitch angle.
	[image: image23.emf]0 500 1000 1500 2000 2500 3000 3500 4000 4500

Number of observations

26

28

30

32

34

36

38

A

m

b

i

e

n

t

 

t

e

m

p

e

r

a

t

u

r

e

 

(

C

)




Figure 8. Ambient temperature.
	[image: image24.emf]0 500 1000 1500 2000 2500 3000 3500 4000 4500

Number of observations

0

50

100

150

200

250

300

350

400

N

a

c

e

l

l

e

 

p

o

s

i

t

i

o

n

 

(

d

e

g

r

e

e

)




Figure 9. Nacelle position.
	[image: image25.emf]0 500 1000 1500 2000 2500 3000 3500 4000 4500

Number of observations

0

50

100

150

200

250

300

350

400

W

i

n

d

 

d

i

r

e

c

t

i

o

n




Figure 10. Wind direction.

All the recurrent NN models with one hidden layer are implemented. Moreover, all these recurrent NN models with 1 feedback delay in their corresponding structures are coded and trained in Matlab software. The transfer function, training function, and number of hidden neurons of all the trained Narxnet, Layrecnet, Distdelaynet, and Timedelaynet models in case studies 1, 2, and 3 are represented in Tables 2, 3, and 4, respectively. 
Table 2. Information of the recurrent NN models in case study 1.

	Model
	Transfer function
	Training function
	Hidden neurons

	Narxnet
	Tansig
	Trainbr
	47

	Layrecnet
	Tansig
	Trainbr
	30

	Distdelaynet
	Tansig
	Trainbr
	143

	Timedelaynet
	Logsig
	Trainbr
	253


Table 3. Information of the recurrent NN models in case study 2.

	Model
	Transfer function
	Training function
	Hidden neurons

	Narxnet
	Logsig
	Trainbr
	21

	Layrecnet
	Tansig
	Trainbr
	79

	Distdelaynet
	Tansig
	Trainlm
	232

	Timedelaynet
	Tansig
	Trainbr
	301


Table 4. Information of the recurrent NN models in case study 3.

	Model
	Transfer function
	Training function
	Hidden neurons

	Narxnet
	Tansig
	Trainlm
	32

	Layrecnet
	Tansig
	Trainbr
	48

	Distdelaynet
	Logsig
	Trainlm
	372

	Timedelaynet
	Tansig
	Trainbr
	180


The evaluation values of all the forecasting recurrent NN models in all case studies are illustrated in Tables 5, 6, and 7, respectively.
Table 5. Evaluation criteria of the proposed forecasting models in case study 1.
	Model
	MAE
	WAPE(%)
	RMSE

	Narxnet
	56.0914
	22.3584
	87.4324

	Layrecnet
	18.6198
	7.4220
	24.9867

	Distdelaynet
	65.9784
	26.2994
	130.9846

	Timedelaynet
	49.9778
	19.9215
	98.3547


Table 6. Evaluation criteria of the proposed forecasting models in case study 2.
	Model
	MAE
	WAPE(%)
	RMSE

	Narxnet
	269.7987
	17.0885
	382.9613

	Layrecnet
	80.9957
	5.1301
	104.7831

	Distdelaynet
	341.8460
	21.6519
	490.9236

	Timedelaynet
	207.4276
	13.1381
	289.5628


Table 7. Evaluation criteria of the proposed forecasting models in case study 3.
	Model
	MAE
	WAPE(%)
	RMSE

	Narxnet
	168.6443
	18.3242
	263.3885

	Layrecnet
	41.3159
	4.4892
	58.1676

	Distdelaynet
	248.0907
	26.9565
	388.8692

	Timedelaynet
	164.6041
	17.8852
	256.3703


Based on the results in Table 5, the Narxnet model can provide better forecasting results (with MAE = 56.0914, WAPE = 22.3584%, and RMSE = 87.4324) compared to the Distdelaynet model (with MAE = 65.9784, WAPE = 26.2994%, and RMSE = 130.9846). In addition, the Timedelaynet model with MAE = 49.9778, WAPE = 19.9215%, and RMSE = 98.3547 can provide better prediction results compared to the Narxnet model. Finally, the Layrecnet model with MAE = 18.6198, WAPE = 7.4220%, and RMSE = 24.9867 can provide better prediction results compared to the Timedelaynet model. Obviously, the Layrecnet model is the best wind power forecasting method in this case study. Similarly, as shown in Table 6, the Layrecnet model (with MAE = 80.9957, WAPE = 5.1301%, and RMSE = 104.7831) can provide better wind power forecasting results compared to the Timedelaynet model (with MAE = 207.4276, WAPE = 13.1381%, and RMSE = 289.5628), the Narxnet model (with MAE = 269.7987, WAPE = 17.0885%, and RMSE = 382.9613), and the Distdelaynet model (with MAE = 341.8460, WAPE = 21.6519%, and RMSE = 490.9236). As shown in Table 7, the Layrecnet model (with MAE = 41.3159, WAPE = 4.4892%, and RMSE = 58.1676) also can provide better wind power forecasting results compared to the Timedelaynet model (with MAE = 164.6041, WAPE = 17.8852%, and RMSE = 256.3703), the Narxnet model (with MAE = 168.6443, WAPE = 18.3242%, and RMSE = 263.3885), and the Distdelaynet model (with MAE = 248.0907, WAPE = 26.9565%, and RMSE = 388.8692). The four forecasting results from Narxnet, Layrecnet, Distdelaynet, and Timedelaynet models with the actual wind power generation data in case studies 1, 2, and 3 are shown in Figures 11, 12, and 13, respectively. The actual wind power values are represented by the solid line (blue color). The forecasted values using the Narxnet, Layrecnet, Distdelaynet, and Timedelaynet models are demonstrated by the dash lines with red color, blue color, purple color, and light blue color, respectively.
	[image: image26.emf]


Figure 11. The forecasted results of wind power generation in case study 1.
	[image: image27.emf]


Figure 12. The forecasted results of wind power generation in case study 2.
	[image: image28.emf]


Figure 13. The forecasted results of wind power generation in case study 3.
4. CONCLUSION
In this paper, the operational parameters such as wind speed, pitch angle, ambient temperature, nacelle position, and wind direction are considered in wind power generation forecasting. A wind farm including 6 turbines (capacity of 3.5 MW per turbine) with a height of 114 meters and 132-meter rotor diameter is considered. The time series data of turbine 05 from July 01st, 2024 to July 31st, 2024 is collected. Several recurrent neural network models consisting of Narxnet, Layrecnet, Distdelaynet, and Timedelaynet are proposed as alternative wind power generation forecasting methods. The Layrecnet model can provide better wind power forecasting results compared to these other models in terms of MAE, WAPE, and RMSE. For further study, the optimal structures of these models can be identified to provide better solutions.
Acknowledgments
This research is conducted within the framework of science and technology projects at institutional level of Quy Nhon University under the project code T2024.847.18.
REFERENCES

1.
Global Wind Energy Council. Global Wind Report 2024, April 15, 2024. Accessed February 6, 2025. https://gwec.net/global-wind-report-2024/

2.
F. Ullah, X. Zhang, M. Khan, M. S. Mastoi, H. M. Munir, A. Flah, Y. Said. A comprehensive review of wind power integration and energy storage technologies for modern grid frequency regulation, Heliyon, 2024, 10(9), e30466. 

3.
G. Li, J. Shi. On comparing three artificial neural networks for wind speed forecasting, Applied Energy, 2010, 87(7), 2313-2320. 

4.
J. Lerner, M. Grundmeyer, M. Garvert. The importance of wind forecasting, Renewable Energy Focus, 2009, 10(2), 64-66. 

5.
A. Kusiak, Z. Zhang. Short-horizon prediction of wind power: A data-driven approach, IEEE Transactions on Energy Conversion, 2010, 25(4), 1112-1122.

6.
X. Zheng, T. Jin. A reliable method of wind power fluctuation smoothing strategy based on multidimensional non‐linear exponential smoothing short‐term forecasting, IET Renewable Power Generation, 2022, 16(16), 3573-3586. 

7.
A. Anwar, A. N. Mahmood. Enhanced estimation of Autoregressive wind power prediction model using constriction factor particle swarm optimization, 2014 9th IEEE Conference on Industrial Electronics and Applications, Hangzhou, China, 2014. 

8.
J. Wang, Q. Zhou, X. Zhang. Wind power forecasting based on time series ARMA model, IOP conference series: Earth and environmental science, 2018, 022015.

9.
R. B. Magadum, S. Bilagi, S. Bhandarkar, A. Patil, A. Joshi. Short-term wind power forecast using time series analysis: Auto-regressive moving-average model (ARMA), Recent developments in electrical and electronics engineering: select proceedings of ICRDEEE 2022, Singapore: Springer Nature Singapore, 2023, 319-341.

10.
F. A. Eldali, T. M. Hansen, S. Suryanarayanan, E. K. P. Chong. Employing ARIMA models to improve wind power forecasts: A case study in ERCOT, 2016 North American Power Symposium (NAPS). IEEE, 2016. 1-6.. 

11.
B. M. Hodge, A. Zeiler, D. Brooks, G. Blau, J. Pekny, G. Reklatis. Improved wind power forecasting with ARIMA models, Computer Aided Chemical Engineering, 2011, 29, 1789-1793. 

12.
J. Li, H. Cheng, X. Zhou, M. Wang, Z. Wang. Optimization of multi-layer perceptron for wind power generation prediction based on improved grey wolf algorithm, International Symposium on New Energy and Electrical Technology. Singapore: Springer Nature Singapore, 2023, 547-557.

13.
W. Sun, Y. Wang. Short-term wind speed forecasting based on fast ensemble empirical mode decomposition, phase space reconstruction, sample entropy and improved back-propagation neural network, Energy conversion and Management, 2018, 157, 1-12.

14.
J. Huang, R. Qin. Elman neural network considering dynamic time delay estimation for short-term forecasting of offshore wind power, Applied Energy, 2024, 358, 122671. 

15.
Z. O. Olaofe, K. A. Folly. Wind power estimation using recurrent neural network technique, IEEE Power and Energy Society Conference and Exposition in Africa: Intelligent Grid Integration of Renewable Energy Resources (PowerAfrica), 2012, 1-7. 

16.
A. Ahmed, M. Khalid. A nonlinear autoregressive neural network model for short-term wind forecasting, 2017 9th IEEE-GCC Conference and Exhibition (GCCCE), IEEE, 2017, 1-9.
17.
Z. Xiao, F. Tang, M. Wang. Wind power short-term forecasting method based on LSTM and multiple error correction, Sustainability, 2023, 15(4), 3798. 

18.
L. Jovanovic, K. Kumpf, N. Bacanin, M. Antonijevic, J. Mani, H. Shaker, M. Zivkovic. Decomposition aided bidirectional long-short-term memory optimized by hybrid metaheuristic applied for wind power forecasting, International Conference on Computational Sciences and Sustainable Technologies. Cham: Springer Nature Switzerland, 2023, 30-42.

19.
Z. Niu, Z. Yu, W. Tang, Q. Wu, M. Reformat. Wind power forecasting using attention-based gated recurrent unit network, Energy, 2020, 196, 117081. 

20.
H. Wang, Z. Lei, Y. Liu, J. Peng, J. Liu. Echo state network based ensemble approach for wind power forecasting, Energy Conversion and Management, 2019, 201, 112188. 

21.
J. Zeng, W. Qiao. Support vector machine-based short-term wind power forecasting, 2011 IEEE/PES power systems conference and exposition, IEEE, 2011. 1-8.

22.
S. Park, S. Jung, J. Lee, J. Hur. A short-term forecasting of wind power outputs based on gradient boosting regression tree algorithms, Energies, 2023, 16(3), 1132. 

23.
D. Kumar, R. Abhinav, N. Pindoriya. An ensemble model for short-term wind power forecasting using deep learning and gradient boosting algorithms, 2020 21st national power systems conference (NPSC), IEEE, 2020, 1-6.

24.
X. Yuan, Q. Tan, X. Lei, Y. Yuan, X. Wu. Wind power prediction using hybrid autoregressive fractionally integrated moving average and least square support vector machine, Energy, 2017, 129, 122-137. 

25.
Y. Jiang, X. Chen, K. Yu, Y. Liao. Short-term wind power forecasting using hybrid method based on enhanced boosting algorithm, Journal of Modern Power Systems and Clean Energy, 2017, 5(1), 126-133. 

26.
H. H. Aly. A proposed hybrid deep learning model for wind power forecasting, 2024 ASU International Conference in Emerging Technologies for Sustainability and Intelligent Systems (ICETSIS), IEEE, 2024, 1011-1014.

27. T. H. Le, L. Dai, H. Jang, S. Shin. Robust process parameter design methodology: a new estimation approach by using feed-forward neural network structures and machine learning algorithms, Applied Sciences, 2022, 12(6), 2904.

4

_1800508942.unknown

_1805370343.unknown

_1805370826.unknown

_1805370897.unknown

_1805370961.unknown

_1805371025.unknown

_1805370916.unknown

_1805370880.unknown

_1805370396.unknown

_1800509016.unknown

_1805370177.unknown

_1800508963.unknown

_1800508906.unknown

_1800508929.unknown

_1800508886.unknown

