Thiết kế tối ưu bền vững cho thiết kế đường dây truyền tải điện trên không
Phạm Văn Phát1, Lê Tuấn Hộ2,*

1Khoa Điện, Trường Cao đẳng Kỹ thuật và Công nghệ Quy Nhơn, Việt Nam
2Khoa Kỹ thuật và Công nghệ, Trường Đại học Quy Nhơn, Việt Nam
*Tác giả liên hệ chính.  Email: tuanhole@qnu.edu.vn

Ngày nhận bài: dd/mm/yyyy; Ngày sửa bài: dd/mm/yyyy;

Ngày nhận đăng: dd/mm/yyyy; Ngày xuất bản: dd/mm/yyyy

TÓM TẮT

Hầu hết các phương pháp thiết kế đường dây truyền tải điện trên không trong thực tế hiện nay chủ yếu dựa trên các công thức thực nghiệm. Do đó, bài báo này nhằm đề xuất một quy trình thiết kế tối ưu gồm hai giai đoạn dựa trên thiết kế bền vững để thiết kế đường dây truyền tải điện trên không. Trong giai đoạn thứ nhất, tương ứng với giai đoạn thiết kế thí nghiệm, bốn biến đầu vào gồm loại dây dẫn, kích thước dây dẫn, chiều dài nhịp và lực căng ban đầu; cùng với hai yếu tố nhiễu là nhiệt độ môi trường và tốc độ gió được xem xét, mỗi yếu tố ở ba mức. Ba đáp ứng đầu ra được đánh giá bao gồm: độ võng lớn nhất, tổn thất công suất và chi phí vòng đời. Các yếu tố biến đầu vào và yếu tố nhiễu lần lượt được thiết kế trong ma trận trong và ma trận ngoài theo thiết kế giai thừa toàn phần. Sau đó, các ma trận này được kết hợp để hình thành thiết kế thí nghiệm giai thừa toàn phần dạng mảng chéo L81. Trong giai đoạn thứ hai, các hàm mong muốn được sử dụng để tối thiểu hóa đồng thời ba đáp ứng đầu ra. Cuối cùng, một phân tích so sánh giữa các dạng hàm mong muốn khác nhau được thực hiện, và dựa trên các kết quả thu được, các nghiệm thiết kế tối ưu cho đường dây truyền tải điện trên không được xác định.
Từ khóa: Thiết kế bền vững, Thiết kế đường dây truyền tải điện trên không, Thiết kế giai thừa toàn phần, Hàm mong muốn.
Robust design optimization for overhead power transmission line design
Pham Van Phat1, Tuan-Ho Le2,*

1Department of Electrical engineering, Quy Nhon College of Engineering and Technology, Vietnam
2Faculty of Engineering and Technology, Quy Nhon University, Vietnam
*Corresponding author. Email: tuanhole@qnu.edu.vn

Received: dd/mm/yyyy; Revised: dd/mm/yyyy;
Accepted: dd/mm/yyyy; Published: dd/mm/yyyy

ABSTRACT
Most practical design methods for overhead power transmission lines primarily rely on empirical formulas. Therefore, this paper aims to propose a robust design–based two-stage optimization framework for overhead power transmission line design. In the first stage, corresponding to the design of experiments or experimental design, four control factors—namely conductor type, conductor size, span length, and pretension—and two noise factors—ambient temperature and wind speed—are considered, each at three levels. Three output responses, including maximum sag, power loss, and life cycle cost, are evaluated. The control factors and noise factors are arranged in the inner and outer arrays, respectively, using a full factorial design. These arrays are then combined to form a full factorial L81 crossed-array experimental design. In the second stage, desirability functions are employed to simultaneously minimize the three output responses. Finally, a comparative analysis of different desirability formulations is conducted, and based on the obtained results, the optimal design solutions for the overhead transmission line are identified.
Keywords: Robust design, Overhead power transmission line design, Full factorial design, Desirability functions.
1. INTRODUCTION 
Overhead power transmission lines play a critical role in electric power systems by enabling the transmission and distribution of electrical energy from generation sources to consumption areas. Compared with alternative transmission technologies, overhead lines offer significant advantages in terms of lower investment cost, scalability, and ease of operation and maintenance. Consequently, they remain the predominant solution for both transmission and distribution networks across a wide range of voltage levels. The quality of transmission line design has a direct impact on supply reliability, power losses, operational safety, and the overall economic efficiency of the power system. The design of overhead power transmission lines constitutes a complex engineering problem involving the coupled interaction of electrical, mechanical, structural, and environmental factors. Key design variables include conductor type and cross-sectional area, span length, pole or tower height, phase configuration, insulation system, as well as conductor sag and tension. These parameters are strongly interdependent rather than independent; variations in a single parameter can simultaneously influence current-carrying capability, electrical clearances, mechanical integrity, and both construction and operational costs. As a result, transmission line design requires a holistic and systematic consideration of multiple interacting constraints. In practical engineering applications, transmission line design is commonly conducted in accordance with technical standards and deterministic calculation methods, with conservative assumptions adopted to ensure safety margins and operational reliability. Although such approaches provide robust designs, they may result in suboptimal solutions characterized by excessive material usage, increased capital expenditure, and higher energy losses. These limitations are further exacerbated by growing transmission demand and increasingly variable environmental conditions. Moreover, uncertainties associated with ambient temperature, wind loading, ice accretion, and long-term material aging introduce additional challenges in both the design process and the accurate assessment of transmission line performance.

Extensive research efforts have been devoted to improving the modeling and analysis of overhead transmission line behavior. In sag–tension and mechanical design, detailed analytical procedures accounting for thermal states, conductor creep, and insulator string characteristics have been developed.1 Modified ruling span methods have been proposed to calculate sag and tension in multi-span line segments while considering the rotational stiffness of suspension insulator strings.2 Field measurements and statistical analyses have been used to evaluate discrepancies between designed and actual sag, highlighting the effects of installation practices and modeling uncertainties on design accuracy.3 Reduced-order, least-squares-based state estimators have also been introduced to estimate sag in leveled span configurations, providing useful tools for mechanical design validation and conductor behavior monitoring.4 Furthermore, sag–tension relationships under maximum wind loading conditions have been investigated to assess mechanical reliability under extreme weather events.5 In terms of thermal modeling and ampacity assessment, computational fluid dynamics-based thermal models have demonstrated adequate accuracy in predicting conductor temperature, offering a viable approach for dynamic analysis of distribution networks operating under variable load and weather conditions.6 The application of high-temperature low-sag conductors and their design implications for capacity enhancement have been evaluated in accordance with international standards such as those issued by CIGRE and IEEE.7 Transmission line ratings based on the relationship between conductor temperature and sag have been determined using the ruling span principle and tension monitoring systems.8 For design validation and condition monitoring, predictive sag–load models incorporating temperature effects and mechanical deformation have been proposed,9 while vibration-based tension estimation techniques using accelerometer measurements have been introduced to support mechanical monitoring.10 In addition, non-contact electric field sensing methods have been applied to transmission line sag measurement and simulation.11 Advanced conductor technologies, including ACCC, ACSS, and ACCR conductors, have been compared in terms of ampacity and sag performance using reconductoring approaches relevant to design optimization.12 A comprehensive review of conductor design parameters and associated monitoring technologies is provided.13 Despite these advances, conventional transmission line design practice continues to rely largely on deterministic procedures and empirically derived design rules. In recent years, optimization-based approaches have attracted increasing attention as effective tools for improving transmission line planning and design. Cost assessment and optimization models employing genetic algorithms have been proposed to minimize the total cost of overhead transmission lines while satisfying design constraints.14 Integrated optimization frameworks for route selection and tower placement using graph algorithms and dynamic programming techniques have also been developed.15 Heuristic optimization methods have been applied to optimize conductor bundle geometry with the objective of enhancing transmission capacity while reducing overall cost.16 Multi-objective optimization approaches considering trade-offs between electrical and mechanical performance have been investigated using genetic algorithms.17 More recently, metaheuristic techniques such as the whale optimization algorithm have been employed to estimate optimal parameters of overhead AC transmission lines, enabling improved tuning of design variables under electrical constraints.18 

Although substantial progress has been made in the modeling, analysis, and optimization of overhead power transmission lines, existing studies predominantly emphasize performance improvement under nominal operating conditions. Mechanical and thermal analyses typically focus on accurate prediction of sag, tension, and ampacity, while optimization-based approaches aim to minimize cost or maximize capacity through advanced search algorithms. However, these studies often assume fixed design parameters and operating environments, thereby limiting their applicability in practical scenarios where uncertainties are unavoidable. 

Moreover, existing studies have not yet proposed a unified framework for optimal design calculation of overhead power transmission lines that can be generally applied to different line configurations. Factors such as ambient temperature and wind speed, which can significantly influence transmission line design, are often not explicitly considered in the optimal design process. In addressing the technical optimization problem, the robust design methodology proposed by Taguchi can be employed as an effective solution and may be regarded as an alternative to conventional optimization techniques. In quality engineering, products or processes are commonly modeled as a box or system characterized by inputs and outputs. Taguchi classifies the input variables into two categories: control factors (denoted by x) and noise factors (denoted by z). Taguchi proposed a two-step procedure for solving optimal design problems, consisting of the construction of a design of experiments and the use of signal-to-noise ratio (SNR) analysis to identify optimal solutions. In the design of experiments stage, Taguchi introduced a set of orthogonal arrays instead of traditional experimental design methods. Among more than 60 types of SNRs, three have been most widely adopted: nominal-is-best, larger-is-better, and smaller-is-better. However, the orthogonal arrays and SNR formulations proposed by Taguchi have been criticized by statisticians and researchers in the literature. 19–21
Based on the Taguchi philosophy, this paper develops a general multi-objective optimization framework for the design of overhead power transmission lines. In the experimental design stage, a general full factorial design is employed with four control factors—namely conductor type, conductor size, span length, and pretension—each considered at three levels, and two noise factors—ambient temperature and wind speed—also considered at three levels. Three output responses are evaluated: maximum sag, power loss, and life cycle cost (LCC). With the objective of minimizing these three responses, several desirability functions are applied to identify optimal solutions. The results obtained from different desirability functions are compared to identify the best solutions. To the best of our knowledge, this is the first attempt to apply the Taguchi philosophy in this area. An overview of the proposed robust design-based two-stage optimization framework for overhead transmission line design is shown in Figure 1. 
	[image: image1.emf]Input factors

conductor type, 

conductor size, span, 

and pretension

Noise factors

Temperature, Wind speed

Output

max sag, power loss, 

life cycle cost

Overhead power transmission line

Full factorial design

Desirability functions

Optimal solutions




Figure 1. Proposed robust design-based two-stage optimization framework for overhead transmission line design.
2. PROPOSED ROBUST DESIGN OPTIMIZATION
This section presents the proposed robust design–based two-stage optimization framework for overhead power transmission line design. The methodology integrates the Taguchi robust design philosophy with advanced desirability function-based optimization algorithm to achieve design solutions that are not only optimal under nominal conditions but also robust against environmental and operational uncertainties. 
2.1. Design of experiments stage
The overhead transmission line design problem is formulated as a multi-input–multi-output engineering system, in which a set of controllable design variables and uncontrollable noise factors jointly influence the performance of the transmission line. The objective is to determine the optimal combination of design parameters that minimizes key performance indices while maintaining robustness under varying environmental conditions.

Unlike the classical Taguchi approach that relies on predefined orthogonal arrays, this study employs a full factorial experimental design to comprehensively capture interactions among control and noise factors. This choice ensures accurate modeling of complex interdependencies between electrical and mechanical parameters that are common in overhead transmission line systems. For each experimental run, the transmission line responses are evaluated under all combinations of noise factor levels, allowing the influence of environmental variability on system performance to be explicitly quantified.
Based on engineering practice, four control factors to reflect realistic engineering choices are selected: conductor type (
[image: image2.wmf]1

x

), conductor size (
[image: image3.wmf]2

x

), span (
[image: image4.wmf]3

x

), and pretension (
[image: image5.wmf]4

x

). To account for environmental uncertainty, two noise factors, representing typical, adverse, and extreme operating conditions, are incorporated: ambient temperature (
[image: image6.wmf]1

z

) and wind speed (
[image: image7.wmf]2

z

).

Three output responses are selected to evaluate transmission line performance: 

· Maximum conductor sag (
[image: image8.wmf]1

y

), which directly affects electrical clearance and mechanical safety;

· Power loss (
[image: image9.wmf]2

y

), representing the electrical efficiency of the line;

· LCC (
[image: image10.wmf]3

y

), which includes material, construction, operation, and maintenance costs.

2.1.1. Maximum conductor sag
For typical overhead transmission spans (≤ 500 m), the conductor is modeled as a flexible cable subjected to uniformly distributed loading. Under normal operating conditions, the parabolic approximation is widely accepted and yields sufficiently accurate results for design and optimization studies.22,23
The mid-span sag is expressed as:


[image: image11.wmf]2

8

L

f

H

w

=

 
(1)
where 
[image: image12.wmf]f

 is mid-span sag (m), 
[image: image13.wmf]w

 is resultant weight per unit length (N/m), 
[image: image14.wmf]L

 is span length (m), and 
[image: image15.wmf]H

 is horizontal component of conductor tension (N).

The weight per unit length is given by:



[image: image16.wmf]mg

w

=

 
(2)

where 
[image: image17.wmf]m

 is the conductor mass per unit length (kg/m) and 
[image: image18.wmf]g

 is the gravitational acceleration (9.81 m/s2).

The horizontal tension is determined by the pretension ratio:



[image: image19.wmf]rated

HH

h

=

 
(3)

where 
[image: image20.wmf]h

 denotes the pretension level and 
[image: image21.wmf]rated

H

 is the rated horizontal tension of the conductor.

To account for environmental uncertainties such as temperature variation and wind speed, the maximum sag is corrected as


[image: image22.wmf](

)

2

max0

1

8

s

L

fTTV

H

ww

w

ab

=é+-+ù

ëû

 
(4)

where 
[image: image23.wmf]T

 is ambient temperature (0C), 
[image: image24.wmf]0

T

 is reference temperature (typically 200C), 
[image: image25.wmf]V

w

 is wind speed (m/s), and 
[image: image26.wmf]s

a

, 
[image: image27.wmf]w

b

 are temperature and wind correction coefficients.

2.1.2. Power loss
The active power loss in an overhead conductor is governed by Joule heating and is expressed as:


[image: image28.wmf](

)

2

loss

PIRT

=

 
(5)

where 
[image: image29.wmf]I

 is the line current (A) and 
[image: image30.wmf]()

RT

 is the conductor resistance at operating temperature 
[image: image31.wmf]T

.

The temperature-dependent resistance is modeled as:


[image: image32.wmf](

)

(

)

2020

120

RTRT

a

=é+-ù

ëû

 
(6)

where 
[image: image33.wmf]20

R

 is the resistance at 200C and 
[image: image34.wmf]R

a

 is the temperature coefficient of resistance. For a given span length 
[image: image35.wmf]L

, the total power loss is:



[image: image36.wmf](

)

2

,

1000

lossspan

L

PIRT

=

. 
(7) 

2.1.3. Life cycle cost
The LCC of an overhead transmission line is defined as the sum of capital investment, energy loss cost, and maintenance cost over the service lifetime.24


[image: image37.wmf]capitallossmain

LCCCCC

=++

 
(8)

The capital cost is primarily determined by the conductor material and size:


[image: image38.wmf](

)

12

,

capitalcond

CCxx

=

. 
(9)

The cumulative energy loss cost over the service life is calculated as:


[image: image39.wmf]losslosslifeenergy

CPhc

=

 
(10) 

where 
[image: image40.wmf]life

h

denotes the total operating hours over the service life and 
[image: image41.wmf]energy

c

 is the unit cost of electrical energy.

Mechanical stress and increased sag result in higher inspection and maintenance requirements. A linear sag-dependent maintenance cost model is adopted:


[image: image42.wmf]max

mainm

Ckf

=

 
(11)

where 
[image: image43.wmf]m

k

 is maintenance cost coefficient.
2.2. Optimization stage
The design problem is therefore formulated as a multi-objective minimization problem:


[image: image44.wmf](

)

(

)

(

)

{

}

123

min,,,,,

yyy

xzxzxz

 
(12)

subject to 
[image: image45.wmf]minmax

££

xxx

 

where 
[image: image46.wmf]x

 represents the vector of control factors (conductor type, conductor size, span, pretension).

Three different types of desirability functions for three different cases are as follows:

If the target is the best, the desirability function is


[image: image47.wmf](

)

0    if    

 if  

 if  

0     if      

ii

s

ii

iii

ii

ii

t

ii

iii

ii

ii

yL

yL

LyT

TL

dy

yU

TyU

TU

yU

<

ì

ï

æö

-

ï

££

ç÷

ï

-

èø

ï

=

í

æö

ï

-

££

ç÷

ï

-

èø

ï

ï

>

î


 (13)

If the maximize is better, the desirability function is


[image: image48.wmf](

)

0    if    

 if  

1     if      

ii

s

ii

iiiii

ii

ii

yL

yL

dyLyT

TL

yT

<

ì

ï

æö

-

ï

=££

í

ç÷

-

èø

ï

ï

>

î

 
(14)
If the minimize is better, the desirability function is


[image: image49.wmf](

)

1    if    

 if  

0     if      

ii

t

ii

iiiii

ii

ii

yT

yU

dyTyU

TU

yU

<

ì

ï

æö

-

ï

=££

í

ç÷

-

èø

ï

ï

>

î


(15)

where 
[image: image50.wmf]i

L

, 
[image: image51.wmf]i

T

, and 
[image: image52.wmf]i

U

 are the lower, target, and upper values of the ith function, respectively. 
[image: image53.wmf]r

, 
[image: image54.wmf]s

, and 
[image: image55.wmf]t

 are the exponents of each desirability function.
The overall desirability function is shown as


[image: image56.wmf](

)

(

)

(

)

1

1122

...

k

kk

Ddydydy

=éù

ëû


(16)

where 
[image: image57.wmf]k

 is the number of responses.

3. CASE STUDY
In this study, a 22-kV overhead power transmission line is selected as the case study to demonstrate the proposed optimization framework. For the experimental design, each control factor and each noise factor is defined at three discrete and practically meaningful levels, enabling a systematic evaluation of their effects on the transmission line performance as:
· Conductor type (
[image: image58.wmf]1

x

): ACSR, AAAC, and ACCC (coded value: 1, 2, 3);

· Conductor size (
[image: image59.wmf]2

x

): 95, 150, and 240 (m2) (coded value: 1, 2, 3);

· Span (
[image: image60.wmf]3

x

): 100, 150, and 200 (m) (coded value: 1, 2, 3);

· Pretension (
[image: image61.wmf]4

x

): 0.3, 0.5, and 0.7 (of rated) (coded value: 1, 2, 3).

Similarly, each noise factor is defined at three discrete levels to reflect realistic variations in environmental and operating conditions encountered in practice, as summarized as follows: 

· Ambient temperature (
[image: image62.wmf]1

z

): – 10, 20, and 40 (0C) (coded value: 1, 2, 3);  

· Wind speed (
[image: image63.wmf]2

z

): 0, 15, and 30 (m/s) (coded value: 1, 2, 3).
The parameters of the ACSR, AAAC, and ACCC conductors with different sizes are summarized in Tables 1, 2, and 3, respectively, including their electrical, mechanical, and physical characteristics relevant to transmission line design and performance evaluation. 
Table 1. Parameters of conductor ASCR.

	Size (mm2)
	Mass (kg/m)
	R20 ((/km)
	Cost (USD/km)

	95
	0.38
	0.193
	8000

	150
	0.62
	0.126
	12000

	240
	0.98
	0.078
	18000


Table 2. Parameters of conductor AAAC.

	Size (mm2)
	Mass (kg/m)
	R20 ((/km)
	Cost (USD/km)

	95
	0.35
	0.195
	8500

	150
	0.58
	0.127
	12500

	240
	0.92
	0.079
	18500


Table 3. Parameters of conductor ACCC.

	Size (mm2)
	Mass (kg/m)
	R20 ((/km)
	Cost (USD/km)

	95
	0.32
	0.50
	11000

	150
	0.50
	0.125
	15000

	240
	0.82
	0.077
	23000


Moreover, the additional parameters used in the overhead power transmission line design are as follows: the rated line current is 300 A; the gravitational acceleration is 9.81 m/s2; the rated horizontal tension is 50000 N; the thermal sag coefficient is 1.2(10-5 0C-1; the wind sag coefficient is 0.005 (m/s)-1; the resistance temperature coefficient is 0.0040C-1, the service life hours is 30 year, corresponding to 262800 h; the energy price is 0.10 USD/kWh, and the maintenance cost factor is 1000 USD/m.
Based on the selected control and noise factors and their associated coded levels, a full factorial L81 crossed-array experimental design is constructed for the three output responses, as summarized in Tables 4, 5, and 6. In this crossed-array structure, the inner array represents all possible combinations of the control factors, while the outer array accounts for the combinations of the noise factors, enabling a systematic evaluation of the robustness of the design against environmental and operational variations. This design framework facilitates the simultaneous assessment of factor interactions and variability effects on the system performance.
Table 4. Full factorial design L81 array for maximum conductor sag.

	
	
	
	
	
	Runs
	Outer array

	
	
	
	
	
	
	1
	2
	3
	4
	5
	6
	7
	8
	9

	
	
	
	
	
	z1
	1
	2
	3
	1
	2
	3
	1
	2
	3

	
	
	
	
	
	z2
	1
	1
	1
	2
	2
	2
	3
	3
	3

	Runs
	Inner array
	
	Maximum conductor sag (m)

	
	x1
	x2
	x3
	x4
	
	y11
	y12
	y13
	y14
	y15
	y16
	y17
	y18
	y19

	1
	1
	1
	1
	1
	
	0.3105
	0.3107
	0.3107
	0.3338
	0.3339
	0.3340
	0.3571
	0.3572
	0.3573

	2
	1
	1
	1
	2
	
	0.1863
	0.1864
	0.1864
	0.2003
	0.2004
	0.2004
	0.2143
	0.2143
	0.2144

	3
	1
	1
	1
	3
	
	0.1331
	0.1331
	0.1332
	0.1431
	0.1431
	0.1432
	0.1531
	0.1531
	0.1531

	4
	1
	1
	2
	1
	
	0.6987
	0.6990
	0.6991
	0.7511
	0.7514
	0.7516
	0.8036
	0.8038
	0.8040

	5
	1
	1
	2
	2
	
	0.4192
	0.4194
	0.4195
	0.4507
	0.4508
	0.4509
	0.4821
	0.4823
	0.4824

	6
	1
	1
	2
	3
	
	0.2994
	0.2996
	0.2996
	0.3219
	0.3220
	0.3221
	0.3444
	0.3445
	0.3446

	7
	1
	1
	3
	1
	
	1.2422
	1.2426
	1.2429
	1.3353
	1.3358
	1.3361
	1.4285
	1.4290
	1.4293

	8
	1
	1
	3
	2
	
	0.7453
	0.7456
	0.7457
	0.8012
	0.8015
	0.8017
	0.8571
	0.8574
	0.8576

	9
	1
	1
	3
	3
	
	0.5324
	0.5325
	0.5327
	0.5723
	0.5725
	0.5726
	0.6122
	0.6124
	0.6126

	10
	1
	2
	1
	1
	
	0.5067
	0.5069
	0.5070
	0.5447
	0.5449
	0.5450
	0.5827
	0.5829
	0.5830

	11
	1
	2
	1
	2
	
	0.3040
	0.3041
	0.3042
	0.3268
	0.3269
	0.3270
	0.3496
	0.3497
	0.3498

	12
	1
	2
	1
	3
	
	0.2171
	0.2172
	0.2173
	0.2334
	0.2335
	0.2336
	0.2497
	0.2498
	0.2499

	13
	1
	2
	2
	1
	
	1.1400
	1.1404
	1.1407
	1.2255
	1.2259
	1.2262
	1.3111
	1.3115
	1.3117

	14
	1
	2
	2
	2
	
	0.6840
	0.6842
	0.6844
	0.7353
	0.7356
	0.7357
	0.7866
	0.7869
	0.7870

	15
	1
	2
	2
	3
	
	0.4886
	0.4887
	0.4889
	0.5252
	0.5254
	0.5255
	0.5619
	0.5621
	0.5622

	16
	1
	2
	3
	1
	
	2.0267
	2.0274
	2.0279
	2.1787
	2.1795
	2.1799
	2.3308
	2.3315
	2.3320

	17
	1
	2
	3
	2
	
	1.2160
	1.2164
	1.2167
	1.3072
	1.3077
	1.3080
	1.3985
	1.3989
	1.3992

	18
	1
	2
	3
	3
	
	0.8686
	0.8689
	0.8691
	0.9337
	0.9341
	0.9343
	0.9989
	0.9992
	0.9994

	19
	1
	3
	1
	1
	
	0.8009
	0.8012
	0.8013
	0.8609
	0.8612
	0.8614
	0.9210
	0.9213
	0.9215

	20
	1
	3
	1
	2
	
	0.4805
	0.4807
	0.4808
	0.5166
	0.5167
	0.5169
	0.5526
	0.5528
	0.5529

	21
	1
	3
	1
	3
	
	0.3432
	0.3434
	0.3434
	0.3690
	0.3691
	0.3692
	0.3947
	0.3949
	0.3949

	22
	1
	3
	2
	1
	
	1.8019
	1.8026
	1.8030
	1.9371
	1.9378
	1.9382
	2.0723
	2.0730
	2.0734

	23
	1
	3
	2
	2
	
	1.0812
	1.0816
	1.0818
	1.1623
	1.1627
	1.1629
	1.2434
	1.2438
	1.2440

	24
	1
	3
	2
	3
	
	0.7723
	0.7725
	0.7727
	0.8302
	0.8305
	0.8307
	0.8881
	0.8884
	0.8886

	25
	1
	3
	3
	1
	
	3.2034
	3.2046
	3.2054
	3.4438
	3.4449
	3.4457
	3.6841
	3.6853
	3.6861

	26
	1
	3
	3
	2
	
	1.9221
	1.9228
	1.9232
	2.0663
	2.0670
	2.0674
	2.2105
	2.2112
	2.2116

	27
	1
	3
	3
	3
	
	1.3729
	1.3734
	1.3737
	1.4759
	1.4764
	1.4767
	1.5789
	1.5794
	1.5797

	28
	2
	1
	1
	1
	
	0.2860
	0.2861
	0.2862
	0.3075
	0.3076
	0.3077
	0.3289
	0.3290
	0.3291

	29
	2
	1
	1
	2
	
	0.1716
	0.1717
	0.1717
	0.1845
	0.1846
	0.1846
	0.1974
	0.1974
	0.1975

	30
	2
	1
	1
	3
	
	0.1226
	0.1226
	0.1227
	0.1318
	0.1318
	0.1319
	0.1410
	0.1410
	0.1410

	31
	2
	1
	2
	1
	
	0.6435
	0.6438
	0.6439
	0.6918
	0.6921
	0.6922
	0.7401
	0.7403
	0.7405

	32
	2
	1
	2
	2
	
	0.3861
	0.3863
	0.3864
	0.4151
	0.4152
	0.4153
	0.4441
	0.4442
	0.4443

	33
	2
	1
	2
	3
	
	0.2758
	0.2759
	0.2760
	0.2965
	0.2966
	0.2967
	0.3172
	0.3173
	0.3174

	34
	2
	1
	3
	1
	
	1.1441
	1.1445
	1.1448
	1.2299
	1.2303
	1.2306
	1.3158
	1.3162
	1.3164

	35
	2
	1
	3
	2
	
	0.6865
	0.6867
	0.6869
	0.7380
	0.7382
	0.7384
	0.7895
	0.7897
	0.7899

	36
	2
	1
	3
	3
	
	0.4903
	0.4905
	0.4906
	0.5271
	0.5273
	0.5274
	0.5639
	0.5641
	0.5642

	37
	2
	2
	1
	1
	
	0.4740
	0.4742
	0.4743
	0.5095
	0.5097
	0.5098
	0.5451
	0.5453
	0.5454

	38
	2
	2
	1
	2
	
	0.2844
	0.2845
	0.2846
	0.3057
	0.3058
	0.3059
	0.3271
	0.3272
	0.3272

	39
	2
	2
	1
	3
	
	0.2031
	0.2032
	0.2033
	0.2184
	0.2184
	0.2185
	0.2336
	0.2337
	0.2337

	40
	2
	2
	2
	1
	
	1.0665
	1.0668
	1.0671
	1.1465
	1.1469
	1.1471
	1.2265
	1.2269
	1.2271

	41
	2
	2
	2
	2
	
	0.6399
	0.6401
	0.6403
	0.6879
	0.6881
	0.6883
	0.7359
	0.7361
	0.7363

	42
	2
	2
	2
	3
	
	0.4571
	0.4572
	0.4573
	0.4913
	0.4915
	0.4916
	0.5256
	0.5258
	0.5259

	43
	2
	2
	3
	1
	
	1.8959
	1.8966
	1.8971
	2.0382
	2.0388
	2.0393
	2.1804
	2.1811
	2.1815

	44
	2
	2
	3
	2
	
	1.1376
	1.1380
	1.1382
	1.2229
	1.2233
	1.2236
	1.3082
	1.3087
	1.3089

	45
	2
	2
	3
	3
	
	0.8125
	0.8128
	0.8130
	0.8735
	0.8738
	0.8740
	0.9345
	0.9348
	0.9349

	46
	2
	3
	1
	1
	
	0.7518
	0.7521
	0.7523
	0.8082
	0.8085
	0.8087
	0.8646
	0.8649
	0.8651

	47
	2
	3
	1
	2
	
	0.4511
	0.4513
	0.4514
	0.4849
	0.4851
	0.4852
	0.5188
	0.5189
	0.5191

	48
	2
	3
	1
	3
	
	0.3222
	0.3223
	0.3224
	0.3464
	0.3465
	0.3466
	0.3706
	0.3707
	0.3708

	49
	2
	3
	2
	1
	
	1.6916
	1.6922
	1.6926
	1.8185
	1.8191
	1.8195
	1.9454
	1.9461
	1.9465

	50
	2
	3
	2
	2
	
	1.0150
	1.0153
	1.0156
	1.0911
	1.0915
	1.0917
	1.1673
	1.1676
	1.1679

	51
	2
	3
	2
	3
	
	0.7250
	0.7252
	0.7254
	0.7794
	0.7796
	0.7798
	0.8338
	0.8340
	0.8342

	52
	2
	3
	3
	1
	
	3.0073
	3.0084
	3.0091
	3.2329
	3.2340
	3.2348
	3.4586
	3.4597
	3.4604

	53
	2
	3
	3
	2
	
	1.8044
	1.8050
	1.8055
	1.9398
	1.9404
	1.9409
	2.0751
	2.0758
	2.0762

	54
	2
	3
	3
	3
	
	1.2889
	1.2893
	1.2896
	1.3855
	1.3860
	1.3863
	1.4822
	1.4827
	1.4830

	55
	3
	1
	1
	1
	
	0.2615
	0.2616
	0.2617
	0.2811
	0.2812
	0.2813
	0.3007
	0.3008
	0.3009

	56
	3
	1
	1
	2
	
	0.1569
	0.1570
	0.1570
	0.1687
	0.1687
	0.1688
	0.1804
	0.1805
	0.1805

	57
	3
	1
	1
	3
	
	0.1121
	0.1121
	0.1121
	0.1205
	0.1205
	0.1205
	0.1289
	0.1289
	0.1290

	58
	3
	1
	2
	1
	
	0.5884
	0.5886
	0.5887
	0.6325
	0.6327
	0.6329
	0.6767
	0.6769
	0.6770

	59
	3
	1
	2
	2
	
	0.3530
	0.3532
	0.3532
	0.3795
	0.3796
	0.3797
	0.4060
	0.4061
	0.4062

	60
	3
	1
	2
	3
	
	0.2522
	0.2523
	0.2523
	0.2711
	0.2712
	0.2712
	0.2900
	0.2901
	0.2902

	61
	3
	1
	3
	1
	
	1.0460
	1.0464
	1.0467
	1.1245
	1.1249
	1.1251
	1.2030
	1.2034
	1.2036

	62
	3
	1
	3
	2
	
	0.6276
	0.6278
	0.6280
	0.6747
	0.6749
	0.6751
	0.7218
	0.7220
	0.7222

	63
	3
	1
	3
	3
	
	0.4483
	0.4485
	0.4486
	0.4819
	0.4821
	0.4822
	0.5156
	0.5157
	0.5158

	64
	3
	2
	1
	1
	
	0.4086
	0.4088
	0.4088
	0.4393
	0.4394
	0.4395
	0.4699
	0.4701
	0.4702

	65
	3
	2
	1
	2
	
	0.2452
	0.2453
	0.2453
	0.2636
	0.2636
	0.2637
	0.2819
	0.2820
	0.2821

	66
	3
	2
	1
	3
	
	0.1751
	0.1752
	0.1752
	0.1883
	0.1883
	0.1884
	0.2014
	0.2015
	0.2015

	67
	3
	2
	2
	1
	
	0.9194
	0.9197
	0.9199
	0.9883
	0.9887
	0.9889
	1.0573
	1.0576
	1.0579

	68
	3
	2
	2
	2
	
	0.5516
	0.5518
	0.5519
	0.5930
	0.5932
	0.5933
	0.6344
	0.6346
	0.6347

	69
	3
	2
	2
	3
	
	0.3940
	0.3942
	0.3942
	0.4236
	0.4237
	0.4238
	0.4531
	0.4533
	0.4534

	70
	3
	2
	3
	1
	
	1.6344
	1.6350
	1.6354
	1.7570
	1.7576
	1.7580
	1.8797
	1.8803
	1.8806

	71
	3
	2
	3
	2
	
	0.9806
	0.9810
	0.9812
	1.0542
	1.0546
	1.0548
	1.1278
	1.1282
	1.1284

	72
	3
	2
	3
	3
	
	0.7005
	0.7007
	0.7009
	0.7530
	0.7533
	0.7534
	0.8056
	0.8058
	0.8060

	73
	3
	3
	1
	1
	
	0.6701
	0.6704
	0.6705
	0.7204
	0.7206
	0.7208
	0.7707
	0.7709
	0.7711

	74
	3
	3
	1
	2
	
	0.4021
	0.4022
	0.4023
	0.4322
	0.4324
	0.4325
	0.4624
	0.4625
	0.4626

	75
	3
	3
	1
	3
	
	0.2872
	0.2873
	0.2874
	0.3087
	0.3088
	0.3089
	0.3303
	0.3304
	0.3305

	76
	3
	3
	2
	1
	
	1.5077
	1.5083
	1.5086
	1.6209
	1.6214
	1.6218
	1.7340
	1.7345
	1.7349

	77
	3
	3
	2
	2
	
	0.9046
	0.9050
	0.9052
	0.9725
	0.9728
	0.9731
	1.0404
	1.0407
	1.0409

	78
	3
	3
	2
	3
	
	0.6462
	0.6464
	0.6466
	0.6947
	0.6949
	0.6950
	0.7431
	0.7434
	0.7435

	79
	3
	3
	3
	1
	
	2.6804
	2.6814
	2.6820
	2.8815
	2.8825
	2.8831
	3.0826
	3.0836
	3.0843

	80
	3
	3
	3
	2
	
	1.6083
	1.6088
	1.6092
	1.7289
	1.7295
	1.7299
	1.8496
	1.8502
	1.8506

	81
	3
	3
	3
	3
	
	1.1488
	1.1492
	1.1494
	1.2349
	1.2354
	1.2356
	1.3211
	1.3215
	1.3218


Table 5. Full factorial design L81 array for power loss.

	Runs
	Power loss (kW)

	
	y21
	y22
	y23
	y24
	y25
	y26
	y27
	y28
	y29

	1
	1.5286
	1.7370
	1.8760
	1.5286
	1.7370
	1.8760
	1.5286
	1.7370
	1.8760

	2
	1.5286
	1.7370
	1.8760
	1.5286
	1.7370
	1.8760
	1.5286
	1.7370
	1.8760

	3
	1.5286
	1.7370
	1.8760
	1.5286
	1.7370
	1.8760
	1.5286
	1.7370
	1.8760

	4
	2.2928
	2.6055
	2.8139
	2.2928
	2.6055
	2.8139
	2.2928
	2.6055
	2.8139

	5
	2.2928
	2.6055
	2.8139
	2.2928
	2.6055
	2.8139
	2.2928
	2.6055
	2.8139

	6
	2.2928
	2.6055
	2.8139
	2.2928
	2.6055
	2.8139
	2.2928
	2.6055
	2.8139

	7
	3.0571
	3.4740
	3.7519
	3.0571
	3.4740
	3.7519
	3.0571
	3.4740
	3.7519

	8
	3.0571
	3.4740
	3.7519
	3.0571
	3.4740
	3.7519
	3.0571
	3.4740
	3.7519

	9
	3.0571
	3.4740
	3.7519
	3.0571
	3.4740
	3.7519
	3.0571
	3.4740
	3.7519

	10
	0.9979
	1.1340
	1.2247
	0.9979
	1.1340
	1.2247
	0.9979
	1.1340
	1.2247

	11
	0.9979
	1.1340
	1.2247
	0.9979
	1.1340
	1.2247
	0.9979
	1.1340
	1.2247

	12
	0.9979
	1.1340
	1.2247
	0.9979
	1.1340
	1.2247
	0.9979
	1.1340
	1.2247

	13
	1.4969
	1.7010
	1.8371
	1.4969
	1.7010
	1.8371
	1.4969
	1.7010
	1.8371

	14
	1.4969
	1.7010
	1.8371
	1.4969
	1.7010
	1.8371
	1.4969
	1.7010
	1.8371

	15
	1.4969
	1.7010
	1.8371
	1.4969
	1.7010
	1.8371
	1.4969
	1.7010
	1.8371

	16
	1.9958
	2.2680
	2.4494
	1.9958
	2.2680
	2.4494
	1.9958
	2.2680
	2.4494

	17
	1.9958
	2.2680
	2.4494
	1.9958
	2.2680
	2.4494
	1.9958
	2.2680
	2.4494

	18
	1.9958
	2.2680
	2.4494
	1.9958
	2.2680
	2.4494
	1.9958
	2.2680
	2.4494

	19
	0.6178
	0.7020
	0.7582
	0.6178
	0.7020
	0.7582
	0.6178
	0.7020
	0.7582

	20
	0.6178
	0.7020
	0.7582
	0.6178
	0.7020
	0.7582
	0.6178
	0.7020
	0.7582

	21
	0.6178
	0.7020
	0.7582
	0.6178
	0.7020
	0.7582
	0.6178
	0.7020
	0.7582

	22
	0.9266
	1.0530
	1.1372
	0.9266
	1.0530
	1.1372
	0.9266
	1.0530
	1.1372

	23
	0.9266
	1.0530
	1.1372
	0.9266
	1.0530
	1.1372
	0.9266
	1.0530
	1.1372

	24
	0.9266
	1.0530
	1.1372
	0.9266
	1.0530
	1.1372
	0.9266
	1.0530
	1.1372

	25
	1.2355
	1.4040
	1.5163
	1.2355
	1.4040
	1.5163
	1.2355
	1.4040
	1.5163

	26
	1.2355
	1.4040
	1.5163
	1.2355
	1.4040
	1.5163
	1.2355
	1.4040
	1.5163

	27
	1.2355
	1.4040
	1.5163
	1.2355
	1.4040
	1.5163
	1.2355
	1.4040
	1.5163

	28
	1.5444
	1.7550
	1.8954
	1.5444
	1.7550
	1.8954
	1.5444
	1.7550
	1.8954

	29
	1.5444
	1.7550
	1.8954
	1.5444
	1.7550
	1.8954
	1.5444
	1.7550
	1.8954

	30
	1.5444
	1.7550
	1.8954
	1.5444
	1.7550
	1.8954
	1.5444
	1.7550
	1.8954

	31
	2.3166
	2.6325
	2.8431
	2.3166
	2.6325
	2.8431
	2.3166
	2.6325
	2.8431

	32
	2.3166
	2.6325
	2.8431
	2.3166
	2.6325
	2.8431
	2.3166
	2.6325
	2.8431

	33
	2.3166
	2.6325
	2.8431
	2.3166
	2.6325
	2.8431
	2.3166
	2.6325
	2.8431

	34
	3.0888
	3.5100
	3.7908
	3.0888
	3.5100
	3.7908
	3.0888
	3.5100
	3.7908

	35
	3.0888
	3.5100
	3.7908
	3.0888
	3.5100
	3.7908
	3.0888
	3.5100
	3.7908

	36
	3.0888
	3.5100
	3.7908
	3.0888
	3.5100
	3.7908
	3.0888
	3.5100
	3.7908

	37
	1.0058
	1.1430
	1.2344
	1.0058
	1.1430
	1.2344
	1.0058
	1.1430
	1.2344

	38
	1.0058
	1.1430
	1.2344
	1.0058
	1.1430
	1.2344
	1.0058
	1.1430
	1.2344

	39
	1.0058
	1.1430
	1.2344
	1.0058
	1.1430
	1.2344
	1.0058
	1.1430
	1.2344

	40
	1.5088
	1.7145
	1.8517
	1.5088
	1.7145
	1.8517
	1.5088
	1.7145
	1.8517

	41
	1.5088
	1.7145
	1.8517
	1.5088
	1.7145
	1.8517
	1.5088
	1.7145
	1.8517

	42
	1.5088
	1.7145
	1.8517
	1.5088
	1.7145
	1.8517
	1.5088
	1.7145
	1.8517

	43
	2.0117
	2.2860
	2.4689
	2.0117
	2.2860
	2.4689
	2.0117
	2.2860
	2.4689

	44
	2.0117
	2.2860
	2.4689
	2.0117
	2.2860
	2.4689
	2.0117
	2.2860
	2.4689

	45
	2.0117
	2.2860
	2.4689
	2.0117
	2.2860
	2.4689
	2.0117
	2.2860
	2.4689

	46
	0.6257
	0.7110
	0.7679
	0.6257
	0.7110
	0.7679
	0.6257
	0.7110
	0.7679

	47
	0.6257
	0.7110
	0.7679
	0.6257
	0.7110
	0.7679
	0.6257
	0.7110
	0.7679

	48
	0.6257
	0.7110
	0.7679
	0.6257
	0.7110
	0.7679
	0.6257
	0.7110
	0.7679

	49
	0.9385
	1.0665
	1.1518
	0.9385
	1.0665
	1.1518
	0.9385
	1.0665
	1.1518

	50
	0.9385
	1.0665
	1.1518
	0.9385
	1.0665
	1.1518
	0.9385
	1.0665
	1.1518

	51
	0.9385
	1.0665
	1.1518
	0.9385
	1.0665
	1.1518
	0.9385
	1.0665
	1.1518

	52
	1.2514
	1.4220
	1.5358
	1.2514
	1.4220
	1.5358
	1.2514
	1.4220
	1.5358

	53
	1.2514
	1.4220
	1.5358
	1.2514
	1.4220
	1.5358
	1.2514
	1.4220
	1.5358

	54
	1.2514
	1.4220
	1.5358
	1.2514
	1.4220
	1.5358
	1.2514
	1.4220
	1.5358

	55
	1.5048
	1.7100
	1.8468
	1.5048
	1.7100
	1.8468
	1.5048
	1.7100
	1.8468

	56
	1.5048
	1.7100
	1.8468
	1.5048
	1.7100
	1.8468
	1.5048
	1.7100
	1.8468

	57
	1.5048
	1.7100
	1.8468
	1.5048
	1.7100
	1.8468
	1.5048
	1.7100
	1.8468

	58
	2.2572
	2.5650
	2.7702
	2.2572
	2.5650
	2.7702
	2.2572
	2.5650
	2.7702

	59
	2.2572
	2.5650
	2.7702
	2.2572
	2.5650
	2.7702
	2.2572
	2.5650
	2.7702

	60
	2.2572
	2.5650
	2.7702
	2.2572
	2.5650
	2.7702
	2.2572
	2.5650
	2.7702

	61
	3.0096
	3.4200
	3.6936
	3.0096
	3.4200
	3.6936
	3.0096
	3.4200
	3.6936

	62
	3.0096
	3.4200
	3.6936
	3.0096
	3.4200
	3.6936
	3.0096
	3.4200
	3.6936

	63
	3.0096
	3.4200
	3.6936
	3.0096
	3.4200
	3.6936
	3.0096
	3.4200
	3.6936

	64
	0.9900
	1.1250
	1.2150
	0.9900
	1.1250
	1.2150
	0.9900
	1.1250
	1.2150

	65
	0.9900
	1.1250
	1.2150
	0.9900
	1.1250
	1.2150
	0.9900
	1.1250
	1.2150

	66
	0.9900
	1.1250
	1.2150
	0.9900
	1.1250
	1.2150
	0.9900
	1.1250
	1.2150

	67
	1.4850
	1.6875
	1.8225
	1.4850
	1.6875
	1.8225
	1.4850
	1.6875
	1.8225

	68
	1.4850
	1.6875
	1.8225
	1.4850
	1.6875
	1.8225
	1.4850
	1.6875
	1.8225

	69
	1.4850
	1.6875
	1.8225
	1.4850
	1.6875
	1.8225
	1.4850
	1.6875
	1.8225

	70
	1.9800
	2.2500
	2.4300
	1.9800
	2.2500
	2.4300
	1.9800
	2.2500
	2.4300

	71
	1.9800
	2.2500
	2.4300
	1.9800
	2.2500
	2.4300
	1.9800
	2.2500
	2.4300

	72
	1.9800
	2.2500
	2.4300
	1.9800
	2.2500
	2.4300
	1.9800
	2.2500
	2.4300

	73
	0.6098
	0.6930
	0.7484
	0.6098
	0.6930
	0.7484
	0.6098
	0.6930
	0.7484

	74
	0.6098
	0.6930
	0.7484
	0.6098
	0.6930
	0.7484
	0.6098
	0.6930
	0.7484

	75
	0.6098
	0.6930
	0.7484
	0.6098
	0.6930
	0.7484
	0.6098
	0.6930
	0.7484

	76
	0.9148
	1.0395
	1.1227
	0.9148
	1.0395
	1.1227
	0.9148
	1.0395
	1.1227

	77
	0.9148
	1.0395
	1.1227
	0.9148
	1.0395
	1.1227
	0.9148
	1.0395
	1.1227

	78
	0.9148
	1.0395
	1.1227
	0.9148
	1.0395
	1.1227
	0.9148
	1.0395
	1.1227

	79
	1.2197
	1.3860
	1.4969
	1.2197
	1.3860
	1.4969
	1.2197
	1.3860
	1.4969

	80
	1.2197
	1.3860
	1.4969
	1.2197
	1.3860
	1.4969
	1.2197
	1.3860
	1.4969

	81
	1.2197
	1.3860
	1.4969
	1.2197
	1.3860
	1.4969
	1.2197
	1.3860
	1.4969


Table 6. Full factorial design L81 array for LCC.

	Runs
	LCC (103 USD)

	
	y31
	y32
	y33
	y34
	y35
	y36
	y37
	y38
	y39

	1
	484.8109
	539.5901
	576.1095
	485.0439
	539.8231
	576.3425
	485.2769
	540.0561
	576.5755

	2
	483.5688
	538.3475
	574.8666
	483.7086
	538.4873
	575.0064
	483.8484
	538.6271
	575.1462

	3
	483.0364
	537.8150
	574.3340
	483.1363
	537.9148
	574.4338
	483.2361
	538.0147
	574.5337

	4
	689.5455
	771.7150
	826.4947
	690.0697
	772.2392
	827.0190
	690.5939
	772.7635
	827.5432

	5
	686.7506
	768.9192
	823.6982
	687.0652
	769.2337
	824.0127
	687.3797
	769.5482
	824.3273

	6
	685.5528
	767.7210
	822.4997
	685.7775
	767.9456
	822.7244
	686.0022
	768.1703
	822.9490

	7
	895.8327
	1005.3932
	1078.4336
	896.7646
	1006.3252
	1079.3655
	897.6966
	1007.2571
	1080.2975

	8
	890.8641
	1000.4228
	1073.4620
	891.4232
	1000.9820
	1074.0211
	891.9824
	1001.5411
	1074.5803

	9
	888.7346
	998.2926
	1071.3313
	889.1341
	998.6920
	1071.7307
	889.5335
	999.0914
	1072.1301

	10
	387.3201
	423.0837
	446.9261
	387.7002
	423.4638
	447.3063
	388.0803
	423.8440
	447.6864

	11
	385.2934
	421.0563
	444.8982
	385.5215
	421.2844
	445.1263
	385.7495
	421.5125
	445.3544

	12
	384.4248
	420.1874
	444.0292
	384.5877
	420.3503
	444.1921
	384.7506
	420.5132
	444.3550

	13
	524.7801
	578.4269
	614.1915
	525.6354
	579.2822
	615.0468
	526.4907
	580.1375
	615.9021

	14
	520.2201
	573.8653
	609.6287
	520.7333
	574.3785
	610.1419
	521.2464
	574.8916
	610.6551

	15
	518.2658
	571.9103
	607.6733
	518.6323
	572.2768
	608.0398
	518.9989
	572.6434
	608.4064

	16
	664.7735
	736.3044
	783.9917
	666.2940
	737.8250
	785.5122
	667.8146
	739.3455
	787.0328

	17
	656.6668
	728.1948
	775.8802
	657.5791
	729.1071
	776.7925
	658.4914
	730.0195
	777.7048

	18
	653.1925
	724.7193
	772.4038
	653.8441
	725.3709
	773.0554
	654.4958
	726.0226
	773.7071

	19
	350.3559
	372.4971
	387.2579
	350.9568
	373.0980
	387.8587
	351.5577
	373.6988
	388.4596

	20
	347.1525
	369.2925
	384.0525
	347.5130
	369.6530
	384.4130
	347.8735
	370.0135
	384.7735

	21
	345.7796
	367.9191
	382.6788
	346.0371
	368.1766
	382.9363
	346.2946
	368.4341
	383.1938

	22
	441.5404
	474.7543
	496.8969
	442.8923
	476.1062
	498.2488
	444.2443
	477.4582
	499.6008

	23
	434.3326
	467.5439
	489.6848
	435.1438
	468.3551
	490.4960
	435.9550
	469.1663
	491.3071

	24
	431.2436
	464.4538
	486.5939
	431.8230
	465.0332
	487.1733
	432.4024
	465.6126
	487.7527

	25
	536.7291
	581.0172
	610.5426
	539.1326
	583.4207
	612.9460
	541.5360
	585.8241
	615.3495

	26
	523.9153
	568.1988
	597.7211
	525.3574
	569.6409
	599.1632
	526.7995
	571.0829
	600.6053

	27
	518.4237
	562.7052
	592.2262
	519.4538
	563.7353
	593.2562
	520.4838
	564.7653
	594.2863

	28
	493.7285
	549.0753
	585.9731
	493.9431
	549.2898
	586.1877
	494.1577
	549.5044
	586.4022

	29
	492.5845
	547.9308
	584.8283
	492.7132
	548.0595
	584.9570
	492.8420
	548.1883
	585.0858

	30
	492.0941
	547.4403
	584.3377
	492.1861
	547.5322
	584.4296
	492.2781
	547.6242
	584.5216

	31
	700.2380
	783.2588
	838.6060
	700.7208
	783.7416
	839.0889
	701.2036
	784.2245
	839.5717

	32
	697.6638
	780.6837
	836.0303
	697.9535
	780.9734
	836.3200
	698.2432
	781.2631
	836.6097

	33
	696.5605
	779.5801
	834.9264
	696.7675
	779.7870
	835.1333
	696.9744
	779.9939
	835.3403

	34
	908.1775
	1018.8730
	1092.6700
	909.0359
	1019.7314
	1093.5284
	909.8943
	1020.5898
	1094.3867

	35
	903.6012
	1014.2950
	1088.0909
	904.1162
	1014.8100
	1088.6059
	904.6312
	1015.3251
	1089.1209

	36
	901.6399
	1012.3330
	1086.1284
	902.0077
	1012.7009
	1086.4963
	902.3756
	1013.0688
	1086.8642

	37
	394.0745
	430.1219
	454.1535
	394.4302
	430.4775
	454.5091
	394.7858
	430.8331
	454.8647

	38
	392.1786
	428.2253
	452.2564
	392.3920
	428.4387
	452.4698
	392.6054
	428.6520
	452.6831

	39
	391.3661
	427.4125
	451.4434
	391.5185
	427.5649
	451.5958
	391.6709
	427.7173
	451.7482

	40
	532.1667
	586.2390
	622.2872
	532.9668
	587.0391
	623.0873
	533.7669
	587.8392
	623.8874

	41
	527.9008
	581.9716
	618.0188
	528.3809
	582.4517
	618.4989
	528.8610
	582.9318
	618.9790

	42
	526.0726
	580.1428
	616.1895
	526.4156
	580.4857
	616.5324
	526.7585
	580.8286
	616.8753

	43
	672.6287
	744.7268
	792.7922
	674.0511
	746.1493
	794.2147
	675.4736
	747.5717
	795.6371

	44
	665.0450
	737.1404
	785.2040
	665.8985
	737.9939
	786.0575
	666.7519
	738.8473
	786.9109

	45
	661.7949
	733.8891
	781.9519
	662.4045
	734.4987
	782.5615
	663.0141
	735.1083
	783.1711

	46
	356.9470
	379.3718
	394.3217
	357.5111
	379.9359
	394.8857
	358.0751
	380.5000
	395.4498

	47
	353.9397
	376.3634
	391.3125
	354.2781
	376.7018
	391.6510
	354.6166
	377.0403
	391.9894

	48
	352.6508
	375.0741
	390.0229
	352.8926
	375.3158
	390.2647
	353.1343
	375.5576
	390.5064

	49
	448.5592
	482.1985
	504.6246
	449.8284
	483.4676
	505.8938
	451.0976
	484.7368
	507.1629

	50
	441.7928
	475.4296
	497.8541
	442.5543
	476.1911
	498.6156
	443.3158
	476.9526
	499.3771

	51
	438.8928
	472.5286
	494.9524
	439.4368
	473.0725
	495.4964
	439.9807
	473.6165
	496.0403

	52
	543.9306
	588.7856
	618.6889
	546.1869
	591.0419
	620.9452
	548.4432
	593.2982
	623.2015

	53
	531.9013
	576.7520
	606.6525
	533.2551
	578.1058
	608.0062
	534.6089
	579.4596
	609.3600

	54
	526.7459
	571.5947
	601.4940
	527.7129
	572.5617
	602.4610
	528.6799
	573.5287
	603.4279

	55
	508.0765
	562.0040
	597.9557
	508.2727
	562.2002
	598.1519
	508.4689
	562.3964
	598.3481

	56
	507.0305
	560.9576
	596.9090
	507.1482
	561.0753
	597.0267
	507.2659
	561.1930
	597.1445

	57
	506.5822
	560.5091
	596.4605
	506.6663
	560.5932
	596.5445
	506.7504
	560.6773
	596.6286

	58
	709.0760
	789.9680
	843.8960
	709.5175
	790.4095
	844.3374
	709.9589
	790.8509
	844.7789

	59
	706.7225
	787.6136
	841.5410
	706.9874
	787.8785
	841.8059
	707.2522
	788.1433
	842.0707

	60
	705.7138
	786.6046
	840.5317
	705.9030
	786.7938
	840.7209
	706.0922
	786.9830
	840.9101

	61
	911.3831
	1019.2400
	1091.1446
	912.1679
	1020.0248
	1091.9294
	912.9527
	1020.8096
	1092.7142

	62
	907.1990
	1015.0544
	1086.9580
	907.6699
	1015.5253
	1087.4289
	908.1408
	1015.9962
	1087.8997

	63
	905.4058
	1013.2606
	1085.1637
	905.7422
	1013.5969
	1085.5001
	906.0785
	1013.9333
	1085.8364

	64
	414.2580
	449.7375
	473.3905
	414.5646
	450.0441
	473.6970
	414.8712
	450.3506
	474.0036

	65
	412.6236
	448.1025
	471.7551
	412.8076
	448.2864
	471.9390
	412.9915
	448.4704
	472.1230

	66
	411.9232
	447.4018
	471.0542
	412.0545
	447.5332
	471.1856
	412.1859
	447.6646
	471.3170

	67
	549.4516
	602.6719
	638.1521
	550.1413
	603.3616
	638.8418
	550.8311
	604.0514
	639.5316

	68
	545.7741
	598.9931
	634.4724
	546.1880
	599.4070
	634.8863
	546.6019
	599.8208
	635.3002

	69
	544.1981
	597.4165
	632.8955
	544.4937
	597.7121
	633.1911
	544.7893
	598.0077
	633.4867

	70
	686.6881
	757.6500
	804.9579
	687.9144
	758.8763
	806.1842
	689.1406
	760.1025
	807.4104

	71
	680.1505
	751.1100
	798.4164
	680.8862
	751.8458
	799.1521
	681.6220
	752.5815
	799.8879

	72
	677.3486
	748.3071
	795.6128
	677.8742
	748.8327
	796.1384
	678.3997
	749.3582
	796.6639

	73
	396.9670
	418.8239
	433.3951
	397.4698
	419.3267
	433.8979
	397.9726
	419.8294
	434.4007

	74
	394.2866
	416.1425
	430.7131
	394.5883
	416.4442
	431.0148
	394.8899
	416.7458
	431.3164

	75
	393.1378
	414.9933
	429.5637
	393.3533
	415.2088
	429.7791
	393.5688
	415.4243
	429.9946

	76
	485.4764
	518.2635
	540.1215
	486.6076
	519.3947
	541.2528
	487.7388
	520.5259
	542.3840

	77
	479.4454
	512.2303
	534.0869
	480.1241
	512.9091
	534.7657
	480.8029
	513.5878
	535.4444

	78
	476.8607
	509.6447
	531.5007
	477.3455
	510.1295
	531.9855
	477.8303
	510.6143
	532.4703

	79
	577.3363
	621.0548
	650.2005
	579.3473
	623.0659
	652.2115
	581.3584
	625.0769
	654.2226

	80
	566.6145
	610.3292
	639.4723
	567.8211
	611.5358
	640.6790
	569.0278
	612.7425
	641.8856

	81
	562.0195
	605.7325
	634.8745
	562.8814
	606.5944
	635.7364
	563.7432
	607.4563
	636.5983


To enable an optimization-based solution search, the three output responses obtained from the L81 experimental array are transformed into individual desirability functions. Each desirability function maps a response value onto a normalized scale ranging from 0 to 1, where smaller response values correspond to higher desirability. In this study, all three output responses are to be minimized; therefore, equation (15) is employed to construct the desirability function for each response.

To identify optimal solutions, the exponent of each individual desirability function is varied from 0.1 to 2.0 with an increment of 0.1. The overall desirability is then defined as the geometric mean of the individual desirabilities and is used as a scalar objective function for optimization. All computations and optimization procedures are implemented in MATLAB. By varying the exponents of the individual desirability functions, different overall desirability surfaces are obtained, as illustrated in Figure 2. A higher value of the overall desirability function indicates a more favorable optimal solution. 
	[image: image64.emf]


Figure 2. Overall desirability functions. 
The optimal solution is obtained when the exponent of each individual desirability function is set to 0.1, resulting in an overall desirability value of 0.9957. Therefore, the optimal design parameters for the 22-kV overhead power transmission line in this case are as follows:
· Conductor type: ACSR;

· Size: 240 mm2;

· Span: 100 m;

· Pretension: 70%

· Maximum sag: 0.3691 ( 0.0223 m;

· Power loss: 0.6926 ( 0.0612 kW;

· LCC: 36571.6667 ( 1608.5526 USD.

The main effects plots showing the influence of the four control factors on the three output responses are presented in Figures 3, 4, 5, 6, 7, and 8.
	[image: image65.emf]1 1.5 2 2.5 3

Level

0.75

0.8

0.85

0.9

0.95

M

e

a

n

 

S

a

g

 

(

m

)

Max Sag – Conductor Type

1 1.5 2 2.5 3

Level

0.5

1

1.5

M

e

a

n

 

S

a

g

 

(

m

)

Max Sag – Conductor Size

1 1.5 2 2.5 3

Level

0.5

1

1.5

M

e

a

n

 

S

a

g

 

(

m

)

Max Sag – Span

1 1.5 2 2.5 3

Level

0.6

0.8

1

1.2

M

e

a

n

 

S

a

g

 

(

m

)

Max Sag – Pretension

Main Effects Plot for Mean Maximum Sag




Figure 3. Main effects plot for mean maximum sag.
	[image: image66.emf]1 1.5 2 2.5 3

Level

0.045

0.05

0.055

S

t

d

 

o

f

 

S

a

g

 

(

m

)

Sag Variability – Conductor Type

1 1.5 2 2.5 3

Level

0.02

0.04

0.06

0.08

S

t

d

 

o

f

 

S

a

g

 

(

m

)

Sag Variability – Conductor Size

1 1.5 2 2.5 3

Level

0.02

0.04

0.06

0.08

0.1

S

t

d

 

o

f

 

S

a

g

 

(

m

)

Sag Variability – Span

1 1.5 2 2.5 3

Level

0.04

0.05

0.06

0.07

0.08

S

t

d

 

o

f

 

S

a

g

 

(

m

)

Sag Variability 

–

 Pretension

Main Effects Plot for Sag Standard Deviation




Figure 4. Main effects plot for standard deviation maximum sag.
	[image: image67.emf]1 1.5 2 2.5 3

Level

1.74

1.75

1.76

1.77

1.78

M

e

a

n

 

L

o

s

s

 

(

k

W

)

Losses – Conductor Type

1 1.5 2 2.5 3

Level

1

1.5

2

2.5

M

e

a

n

 

L

o

s

s

 

(

k

W

)

Losses – Conductor Size

1 1.5 2 2.5 3

Level

1

1.5

2

2.5

M

e

a

n

 

L

o

s

s

 

(

k

W

)

Losses – Span

1 1.5 2 2.5 3

Level

1

1.5

2

2.5

3

M

e

a

n

 

L

o

s

s

 

(

k

W

)

Losses – Pretension

Main Effects Plot for Mean Power Losses




Figure 5. Main effects plot for mean power losses.
	[image: image68.emf]1 1.5 2 2.5 3

Level

0.154

0.155

0.156

0.157

0.158

S

t

d

 

o

f

 

L

o

s

s

 

(

k

W

)

Loss Variability – Conductor Type

1 1.5 2 2.5 3

Level

0.1

0.15

0.2

0.25

S

t

d

 

o

f

 

L

o

s

s

 

(

k

W

)

Loss Variability – Conductor Size

1 1.5 2 2.5 3

Level

0.1

0.15

0.2

S

t

d

 

o

f

 

L

o

s

s

 

(

k

W

)

Loss Variability – Span

1 1.5 2 2.5 3

Level

-1

-0.5

0

0.5

1

S

t

d

 

o

f

 

L

o

s

s

 

(

k

W

)

Loss Variability – Pretension

Main Effects Plot for Loss Standard Deviation




Figure 6. Main effects plot for standard deviation power losses.
	[image: image69.emf]1 1.5 2 2.5 3

Level

6

6.1

6.2

6.3

M

e

a

n

 

L

C

C

 

(

U

S

D

)

10

4 LCC – Conductor Type

1 1.5 2 2.5 3

Level

5

6

7

8

M

e

a

n

 

L

C

C

 

(

U

S

D

)

10

4LCC – Conductor Size

1 1.5 2 2.5 3

Level

4

5

6

7

8

M

e

a

n

 

L

C

C

 

(

U

S

D

)

10

4 LCC – Span

1 1.5 2 2.5 3

Level

6.1

6.12

6.14

6.16

M

e

a

n

 

L

C

C

 

(

U

S

D

)

10

4LCC – Pretension

Main Effects Plot for Mean Life Cycle Cost




Figure 7. Main effects plot for mean LCC.
	[image: image70.emf]1 1.5 2 2.5 3

Level

0.75

0.8

0.85

0.9

0.95

M

e

a

n

 

S

a

g

 

(

m

)

Max Sag – Conductor Type

1 1.5 2 2.5 3

Level

0.5

1

1.5

M

e

a

n

 

S

a

g

 

(

m

)

Max Sag – Conductor Size

1 1.5 2 2.5 3

Level

0.5

1

1.5

M

e

a

n

 

S

a

g

 

(

m

)

Max Sag – Span

1 1.5 2 2.5 3

Level

0.6

0.8

1

1.2

M

e

a

n

 

S

a

g

 

(

m

)

Max Sag – Pretension

Main Effects Plot for Mean Maximum Sag




Figure 8. Main effects plot for standard deviation LCC.
Figures 3–8 collectively present the main effects of the control factors on the robust performance of the 22-kV overhead transmission line design. Figures 3, 5, and 7 show the main effects of conductor type, conductor size, span length, and pretension on the mean values of maximum sag, power losses, and LCC, respectively, where each point represents the average response at a given factor level under all noise conditions. In all three responses, span length exhibits the steepest trends, indicating that it is the dominant parameter influencing both mechanical and economic performance, which is physically consistent with the quadratic dependence of sag and resistive losses on span. Pretension also demonstrates a significant influence, particularly in reducing sag and stabilizing LCC, confirming its role in enhancing mechanical robustness. By contrast, conductor type and conductor size show more moderate but non-negligible effects, reflecting their indirect influence through mass, resistance, and material cost.
Figures 4, 6, and 8 show the main effects of conductor type, conductor size, span length, and pretension on the standard deviation values of maximum sag, power losses, and LCC, respectively, where each point represents the standard deviation response at a given factor level under all noise conditions. In all three responses, span length also exhibits the steepest trends, indicating that it is the dominant parameter influencing both mechanical and economic performance, which is physically consistent with the quadratic dependence of sag and resistive losses on span. Pretension also demonstrates a significant influence, particularly in reducing sag and stabilizing LCC, confirming its role in enhancing mechanical robustness. By contrast, conductor type and conductor size show more moderate but non-negligible effects, reflecting their indirect influence through mass, resistance, and material cost.

4. CONCLUSIONS
This paper proposed a robust design–based two-stage optimization framework for overhead power transmission line design by integrating a full factorial L81 crossed-array experimental design with desirability function–based multi-objective optimization. The framework explicitly incorporates both control factors and environmental noise factors, enabling robust design solutions that account for uncertainties in ambient temperature and wind speed. A case study on a 22-kV overhead transmission line demonstrated that the proposed approach can effectively minimize maximum sag, power loss, and life cycle cost simultaneously. The results showed that high overall desirability values can be achieved through appropriate selection of desirability function parameters, leading to balanced and robust design solutions. The MATLAB-based implementation confirms the practical applicability of the proposed methodology for transmission line design optimization.
Future work may extend the proposed framework by considering additional design and environmental factors, such as tower configuration, ice loading, and solar radiation. Moreover, efficient experimental designs and advanced metaheuristic optimization techniques can be explored to reduce computational effort and further improve solution quality. The integration of real-time monitoring data is another promising direction for adaptive and data-driven transmission line design and operation.

REFERENCES
1.
M. Kampik, P. Kubek, B. Krupanek, R. Bogacz Sag and Tension Calculations for High-Voltage Overhead Line Conductors, Energies, 2024, 17(12), 2967. 

2.
M. Keshavarzian, C. H. Priebe. Sag and tension calculations for overhead transmission lines at high temperatures-modified ruling span method, IEEE Transaction Power Delivery, 2000, 15(2), 777-783. 

3.
A. Nudler, R. Yozevitch, E. Holdengreber. Enhanced method for assessing designed sag accuracy in overhead transmission electric lines using field data and statistical analysis, International Journal Electric Power & Energy System, 2025, 165, 110457. 

4.
P. Kumar, A. K. Singh. Optimal mechanical sag estimator for leveled span overhead transmission line conductor, Measurement, 2019, 137, 691-699. 

5.
Z. A. Muhammad, A. A. Muhammad, K. Akhtar, Mehr-E-Munir. Overhead Transmission Lines Analysis Considering Sag-Tension under Maximum Wind Effect, Journal of mechanics of continua and mathematical sciences, 2018, 13(5), 185-192. 
6.
I. Makhkamova, K. Mahkamov, P. Taylor. CFD thermal modelling of Lynx overhead conductors in distribution networks with integrated Renewable Energy Driven Generators, Applied Thermal Engineering, 2013, 58(1), 522-535. 

7.
F. Margita, Ľ. Beňa, W. Malska, P. Pijarski. Possibilities of Increasing the Ampacity of Overhead Lines Using High-Temperature Low-Sag Conductors in the Electric Power System of the Slovak Republic, Applied Sciences, 2024, 14(17), 7846. 

8.
T. O. Seppa. Accurate ampacity determination: Temperature-Sag Model for operational real time ratings, IEEE Transaction Power Delivery, 1995, 10(3), 1460-1470. 

9.
Y. Luo, C. Gao, D. Wang, Z. Jiang, Y. Lv, G. Xue. Predictive model for sag and load on overhead transmission lines based on local deformation of transmission lines, Electric Power Systems Research, 2023, 214, 108811. 

10.
S. H. Kim, K. H. Chun. Overhead Power Line Tension Estimation Method Using Accelerometers, Energies, 2025, 18(1), 181.

11.
J. Zuo, J. Fan, Y. Ouyang, H. Liu, C. Yang, C. Hao. Transmission Line Sag Measurement and Simulation Research Based on Non-Contact Electric Field Sensing, Sensors, 2022, 22(21), 8379. 

12.
M. Ahsan, M. N. R. Baharom, I. U. Khalil, Z. Zainal. Analysis of high-ampacity and low-sag conductors of 275 kV overhead transmission lines using reconductoring technique, Electric Power Systems Research, 2025, 246, 111719. 

13.
S. Jayathilake, P. Rajeev, E. Gad. Review of the design and condition monitoring of overhead power distribution conductors, Journal of Civil Engineering and Management, 2025, 31(4), 338-361. 

14.
S. K. Teegala, S. K. Singal. Optimal costing of overhead power transmission lines using genetic algorithms, International Journal Electric Power & Energy System, 2016, 83, 298-308. 

15.
A. H. M. Santos, R. M. de Lima, C. R. S. Pereira, O. Reinis, O. S. M. Giulia, R. Q. Anderson, K. F. Bárbara, R. P. C. C. Arthur, C. J. Luiz, A. S. Renato, L. C. J. Eden. Optimizing routing and tower spotting of electricity transmission lines: An integration of geographical data and engineering aspects into decision-making, Electric Power Systems Research, 2019, 176, 105953. 

16.
J. S. Acosta, M. C. Tavares. Methodology for optimizing the capacity and costs of overhead transmission lines by modifying their bundle geometry, Electric Power Systems Research, 2018, 163, 668-677. 

17.
J. R. Jimenez-Octavio, O. Lopez-Garcia, E. Pilo, A. Carnicero. Coupled Electromechanical Optimization of Power Transmission Lines, Computer Modeling in Engineering & Sciences, 2008, 25(2), 81-98.

18.
M. S. Shaikh, C. Hua, M. Hassan, S. Raj, M. A. Jatoi, M. M. Ansari. Optimal parameter estimation of overhead transmission line considering different bundle conductors with the uncertainty of load modeling, Optimal Control Applications and Methods, 2022, 43(3), 652-666. 

19.
A. C. Shoemaker, K. L. Tsui, C. F. J. Wu. Economical Experimentation Methods for Robust Design, Technometrics, 1991, 33(4), 415-427. 

20.
R. H. Myers. Response Surface Methodology—Current Status and Future Directions, Journal of Quality Technology, 1999, 31(1),  30-44.
21.
G. G. Vining, R. H. Myers. Combining Taguchi and Response Surface Philosophies: A Dual Response Approach, Journal of Quality Technology, 1990, 22(1), 38-45. 

22.
IEEE Standards Association, IEEE 738-2012: IEEE Standard for Calculating the Current-Temperature Relationship of Bare Overhead Conductors, 2013. 
23.
eCIGRE, Thermal behaviour of overhead conductors - Technical Brochures, 2002.
24.
W. Zeng, J. Fan, W. Zhang, L. Yu, Z. Bin, H. Ruirui, X. Xiao, L. Junyong. Whole Life Cycle Cost Analysis of Transmission Lines Using the Economic Life Interval Method, Energies, 2023, 16(23), 7804. 



1

_1827926317.unknown

_1827926744.unknown

_1827926985.unknown

_1827932356.unknown

_1827932396.unknown

_1827936875.unknown

_1827936891.unknown

_1827936909.unknown

_1827940699.unknown

_1827936900.unknown

_1827936883.unknown

_1827932435.unknown

_1827936862.unknown

_1827932407.unknown

_1827932382.unknown

_1827932389.unknown

_1827932373.unknown

_1827927472.unknown

_1827932216.unknown

_1827932294.unknown

_1827927641.unknown

_1827927069.unknown

_1827927432.unknown

_1827927016.unknown

_1827926864.unknown

_1827926938.unknown

_1827926979.unknown

_1827926902.unknown

_1827926760.unknown

_1827926795.unknown

_1827926752.unknown

_1827926487.unknown

_1827926649.unknown

_1827926664.unknown

_1827926700.unknown

_1827926657.unknown

_1827926503.unknown

_1827926608.unknown

_1827926495.unknown

_1827926399.unknown

_1827926461.unknown

_1827926479.unknown

_1827926418.unknown

_1827926340.unknown

_1827926391.unknown

_1827926325.unknown

_1827925254.unknown

_1827926218.unknown

_1827926250.unknown

_1827926264.unknown

_1827926235.unknown

_1827926084.unknown

_1827926198.unknown

_1827925307.unknown

_1827925392.unknown

_1827925195.unknown

_1827925216.unknown

_1827925246.unknown

_1827925206.unknown

_1827925179.unknown

_1827925187.unknown

_1827925169.unknown

